## INDEX
GCF proposal "Building resilience in the face of climate change within traditional rain fed agricultural and pastoral systems in Sudan"
Water balance analysis
Index of worksheets
Worksheet | Description
Assumptions | Assumptions
Summary | Summary of current and project-related groundwater use from deep and shallow wells
Current water use | Current groundwater use from deep and shallow wells
Project water use (deep) | Project-related groundwater withdrawals from deep wells
Project water use (shallow) | Project-related groundwater withdrawals from shallow wells

## Assumptions
GCF proposal "Building resilience in the face of climate change within traditional rain fed agricultural and pastoral systems in Sudan"
Water balance analysis
Assumptions
back to Index
Navigating the worksheet
Key to cell shading
Go to Map of Sudan groundwater basins
Go to Map of project localities
Go to Map of overlay of groundwater basins and project localities
Go to locality aquifer characteristics
Go to Current water use without project - groundwater
Go to Assumed groundwater sources for deep and shallow wells
Go to Assumed well charcteristics
Go to Project assumptions - human, agriculture, and livestock water use
Go to Project assumptions - women's gardens water use
Go to Assumed distribution of project interventions
Key to cell shading
30 | assumption that needs vetting
30 | calculated results: do not change
Map of Sudan groundwater basins |  |  |  | back | source: Integrated Groundwater Resources Management within Reverbasins Workshop; Integrated Groundwater Resources Management in Sudan; Country paper Sudan; 15th 17 th Jan 2019; Nairobi Kenya
Map of project localities |  | back
Map of overlay of groundwater basins and project localities |  |  |  |  | back
Aquifer characteristics |  | back
source: Water Harvesting Projects For RURAL WATER SUPPLY; Proposal for European Union Fund; Nubian aquifer recharged rate adjusted to 1,915 Mm3/yr as per email from Min Htut Yin on 13 January 2020)
Aquifer |  | Basin |  |  | Depth to groundwater (meters) | Recharge rate (Mm3/year) |  | Allowable abstraction rate (% of recharge rate) | Allowable abstraction rate (Mm3/year) |  | Storage (Mm3) | Average sustainable extraction rate (m3/hour) |  |  | Average sustainable extraction rate (Mm3/year)
[6 empty] | Deep wells | Shallow wells
# | Name | # | Name | [5 empty] | Deep wells | Shallow wells |  | Min | Max | Average | Min | Max
1 | Nubian Sandstone | 1 | Sahara Basin |  | 70 | 1915 | 375 | 70% | 1340.5 | 262.5 | 503000 | 100 | 400 | 250 | 0.876 | 3.504
|  | 2 | Nile Basin |  | 70 | [6 empty] | 100 | 400 | 250 | 0.876 | 3.504
|  | 3 | Atbara Basin |  | 70 | [6 empty] | 100 | 400 | 250 | 0.876 | 3.504
|  | 4 | Central Darfur Basin. |  | 70 | [6 empty] | 100 | 400 | 250 | 0.876 | 3.504
|  | 5 | Blue Nile Basin |  | 70 | [6 empty] | 100 | 400 | 250 | 0.876 | 3.504
|  | 6 | Nouhud Basin |  | 70 | [6 empty] | 100 | 400 | 250 | 0.876 | 3.504
|  | 7 | Gadarif Basin |  | 70 | [6 empty] | 100 | 400 | 250 | 0.876 | 3.504
|  | 8 | Sag El Naam Basin |  | 70 | [6 empty] | 100 | 400 | 250 | 0.876 | 3.504
|  | 9 | Shagara Basin |  | 70 | [6 empty] | 100 | 400 | 250 | 0.876 | 3.504
2 | Um Rawaba | 10 | Bara Basin (Note: assumed East Kordofan) |  | 80 | 600 | 375 | 70% | 420 | 262.5 | 6000 | 5 | 20 | 12.5 | 0.0438 | 0.1752
|  | 11 | Atshan Basin |  | 80 | [6 empty] | 5 | 20 | 12.5 | 0.0438 | 0.1752
|  | 12 | Baggara Basin |  | 80 | [6 empty] | 5 | 20 | 12.5 | 0.0438 | 0.1752
3 | Alluvial | 13 | Gash |  | 10 | 375 | 375 | 70% | 262.5 | 262.5 | 1000 | 50 | 100 | 75 | 0.438 | 0.876
|  | 14 | Wadi Azoum |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
|  | 15 | Wadi Nyala |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
|  | 16 | Arbaat |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
|  | 17 | Wadi Kutum |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
|  | 18 | Wadi Dordaib |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
|  | 19 | Wadi Eldain |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
| Other alluvial | 20 | Khor Abuhabil |  | 10 | 375 | 375 | 70% | 262.5 | 262.5 | 1000 | 50 | 100 | 75 | 0.438 | 0.876
|  | 21 | Atbara River |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
|  | 22 | Nile River |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
|  | 23 | Other |  | 10 | [6 empty] | 50 | 100 | 75 | 0.438 | 0.876
4 | Basement | 24 | Basement complex |  | NA | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Current water use in states where project-related groundwater extraction infrastructure will be installed | [6 empty] | back
source: Ministry of Water Resources and electricity, groundwater and wadis, Information Centre; Groundwater and wadis database (accessed on 16-February 2020 at 08:46); received in an email from Min Htut on 16 February 2020
# | State |  | Groundwater source |  | Number of Wells | Current water Use |  | Current water Use
|  |  | Basin | Aquifer |  | m3 /day | Mm3 /year | share | Mm3 /year
1 | West Darfur |  | Bagara | Um Rawaba | 15 | 154.8 | 0.056502 | 50% | 0.028251
|  |  | Basalt | Um Rawaba |  |  |  | 50% | 0.028251
|  |  | Basement | Basement |  |  |  | 0% | 0
[8 empty] | 100% | 0.056502
2 | Central Darfur |  | Central Darfur | Nubian Sandstone | 23 | 138.15 | 0.050425 | 33.33% | 0.016808
|  |  | Alluvium | Alluvial |  |  |  | 33.33% | 0.016808
|  |  | Basalt | Nubian Sandstone |  |  |  | 33.33% | 0.016808
[8 empty] | 100% | 0.050425
3 | East Darfur |  | Bagara | Um Rawaba | 24 | 481 | 0.17556 | 100% | 0.17556
4 | West Kordfan |  | Bagara | Um Rawaba | 20 | 15150.8 | 5.53 | 100% | 5.53
|  |  | Basement | Basement |  |  |  | 0% | 0
[8 empty] | 100% | 5.53
5 | South Kordfan |  | Bagara | Um Rawaba | 431 | 8123.79 | 2.9652 | 33.33% | 0.98839
|  |  | Nuhud | Nubian Sandstone |  |  |  | 33.33% | 0.98839
|  |  | Sudd | Nubian Sandstone |  |  |  | 33.33% | 0.98839
|  |  | Basement | Basement |  |  |  | 0% | 0
[8 empty] | 100% | 2.9652
6 | Kasala |  | Alluvium | Alluvial | 780 | 7959.8 | 2.9053 | 50% | 1.4527
|  |  | Atbara | Other alluvial |  |  |  | 50% | 1.4527
|  |  | Basement | Basement |  |  |  | 0% | 0
[8 empty] | 100% | 2.9053
7 | Red Sea |  | Alluvium | Alluvial | 211 | 1630.29 | 0.59506 | 100% | 0.59506
|  |  | Basement | Basement |  |  |  | 0% | 0
[8 empty] | 100% | 0.59506
8 | Northern |  | Sahara Nile | Nubian Sandstone | 427 | 15146.3 | 5.5284 | 50% | 2.7642
|  |  | Sahara Nubian | Nubian Sandstone |  |  |  | 50% | 2.7642
[8 empty] | 100% | 5.5284
9 | Khartoum |  | Sahara Nile | Nubian Sandstone | 2552 | 80946.7 | 29.5455 | 33.33% | 9.8485
|  |  | Atbara | Other alluvial |  |  |  | 33.33% | 9.8485
|  |  | Blue Nile | Nubian Sandstone |  |  |  | 33.33% | 9.8485
[8 empty] | 100% | 29.5455
Total |  |  |  |  | 4483 | 129731.63 | 47.352 |  | 47.352
Assumed groundwater sources for deep and shallow wells |  |  |  |  | back
State |  | Locality |  | Groundwater source
|  |  |  | Deep wells |  | Shallow wells
# | State | # | Locality | Basin | Aquifer | Basin | Aquifer
1 | West Darfur State | 1 | Genana | Basalt | Um Rawaba | Bagara | Um Rawaba
|  | 2 | Krenik | Basalt | Um Rawaba | Bagara | Um Rawaba
2 | Central Darfur State | 3 | Zalingi | Central Darfur | Nubian Sandstone | Alluvium | Alluvial
|  | 4 | Azoom | Central Darfur | Nubian Sandstone | Alluvium | Alluvial
3 | East Darfur State | 5 | ELdain | Bagara | Um Rawaba | Bagara | Um Rawaba
|  | 6 | Firdous | Bagara | Um Rawaba | Bagara | Um Rawaba
|  | 7 | Asalia | Bagara | Um Rawaba | Bagara | Um Rawaba
4 | West Kordofan State | 8 | Al Nohoud | Bagara | Um Rawaba | Bagara | Um Rawaba
|  | 9 | Asalam | Bagara | Um Rawaba | Bagara | Um Rawaba
|  | 10 | Alsunut | Bagara | Um Rawaba | Bagara | Um Rawaba
5 | South Kordofan State | 11 | El Goz | Bagara | Um Rawaba | Nuhud | Nubian Sandstone
|  | 12 | Dilling | Bagara | Um Rawaba | Nuhud | Nubian Sandstone
6 | Kassala State | 13 | Kassala | Atbara | Nubian Sandstone | Alluvium | Alluvial
|  | 14 | Telkuk | Atbara | Nubian Sandstone | Alluvium | Alluvial
|  | 15 | Rural Nhr Atbra | Atbara | Nubian Sandstone | Alluvium | Alluvial
7 | Red Sea State | 16 | Agig | Alluvium | Alluvial | Alluvium | Alluvial
|  | 17 | Dordaib/Haya | Alluvium | Alluvial | Alluvium | Alluvial
|  | 18 | Guneb Olib | Alluvium | Alluvial | Alluvium | Alluvial
8 | Northern State | 19 | Dongala | Sahara Nubian | Nubian Sandstone | Sahara Nile | Nubian Sandstone
|  | 20 | Marawi | Sahara Nubian | Nubian Sandstone | Sahara Nile | Nubian Sandstone
|  | 21 | AlDabaha | Sahara Nubian | Nubian Sandstone | Sahara Nile | Nubian Sandstone
9 | Khartoum State | 22 | Rural Umdorman | Sahara Nile | Nubian Sandstone | Atbara | Other alluvial
|  | 23 | Rural Sharg ElNil | Sahara Nile | Nubian Sandstone | Atbara | Other alluvial
Assumed well charcteristics |  |  | back
# | State |  | Groundwater source |  | Well characteristics |  | Recharge rate (Mm3/year)
|  |  | Basin | Aquifer | Type | Water table depth (m)
1 | West Darfur |  | Bagara | Um Rawaba | Shallow | 10 | 375 |  |  | 600
|  |  | Basalt | Um Rawaba | Deep | 80 | 600 |  |  | 600
|  |  | Basement | Basement | NA | NA | 0 |  |  | 0
2 | Central Darfur |  | Central Darfur | Nubian Sandstone | Deep | 70 | 1915 |  |  | 1915
|  |  | Alluvium | Alluvial | Shallow | 10 | 375 |  |  | 375
|  |  | Basalt | Nubian Sandstone | Deep | 80 | 1915 |  |  | 1915
3 | East Darfur |  | Bagara | Um Rawaba | Deep | 80 | 600 |  |  | 600
|  |  | Bagara | Um Rawaba | Shallow | 10 | 375 |  |  | 375
4 | West Kordfan |  | Bagara | Um Rawaba | Deep | 80 | 600 |  |  | 600
|  |  | Basement | Basement | NA | NA | 0 |  |  | 0
5 | South Kordfan |  | Bagara | Um Rawaba | Deep | 80 | 600 |  |  | 600
|  |  | Nuhud | Nubian Sandstone | Shallow | 10 | 375 |  |  | 375
|  |  | Sudd | Nubian Sandstone | Deep | 70 | 1915 |  |  | 1915
|  |  | Basement | Basement | NA | NA | 0 |  |  | 0
6 | Kasala |  | Alluvium | Alluvial | Shallow | 10 | 375 |  |  | 375
|  |  | Atbara | Nubian Sandstone | Deep | 70 | 1915 |  |  | 1915
|  |  | Basement | Basement | NA | NA | 0 |  |  | 0
7 | Red Sea |  | Alluvium | Alluvial | Shallow | 10 | 375 |  |  | 375
|  |  | Basement | Basement | NA | NA | 0 |  |  | 0
8 | Northern |  | Sahara Nile | Nubian Sandstone | Shallow | 10 | 375 |  |  | 1915
|  |  | Sahara Nubian | Nubian Sandstone | Deep | 70 | 1915 |  |  | 1915
9 | Khartoum |  | Sahara Nile | Nubian Sandstone | Deep | 70 | 1915 |  |  | 1915
|  |  | Atbara | Other alluvial | Shallow | 10 | 375 |  |  | 375
|  |  | Blue Nile | Nubian Sandstone | Deep | 70 | 1915 |  |  | 1915
Project assumptions - human, agriculture, and livestock water use |  |  |  |  | back
Water infrastructure type | Activity # | Water access |  |  | Depth to water (meters) | Water use (m3/day)
[6 empty] | Humans | Agriculture | Livestock | Total
rehabilitated water yards | 2.1.1 | Groundwater extraction |  |  | 70 - 80 | 50 | 0 | 50 | 100
new water yards | 2.1.2 | Groundwater extraction |  |  | 70 - 80 | 50 | 0 | 50 | 100
Sand storage dams | 2.2.1 | Groundwater extraction (alluvium) |  |  | 10 | 50 | 1700 | 50 | 1800
Pumps | 2.2.2 | Groundwater extraction (alluvium) |  |  | 10 | 50 | 1700 | 50 | 1800
Hafirs | 2.3.1 | Groundwater extraction (alluvium) |  |  | 10 | 50 | 1700 | 50 | 1800
Project assumptions - women's gardens water use |  |  |  | back
State |  | Women's garden total area (ha) |  |  | Women's garden water use (M3/year) |  | Source of water abstraction |  | Water access |  | Share of water delivery(%) | [5 empty] | Women's gardens (Mm3/year)
[11 empty] | rehabilitated water yards | new water yards | Sand storage dams | Pumps | Hafirs | Total | rehabilitated water yards | new water yards | Sand storage dams | Pumps | Hafirs
[11 empty] | 2.1.1 | 2.1.2 | 2.2.1 | 2.2.2 | 2.3.1 |  | 2.1.1 | 2.1.2 | 2.2.1 | 2.2.2 | 2.3.1
West Darfur State |  | 182 |  |  | 46350 |  | Alluvial basin |  | Surface water collection |  | 0% | 0% | 0% | 100% | 0% | 100% | 0 | 0 | 0 | 0.04635 | 0
Central Darfur State |  | 437 |  |  | 111240 |  | Alluvial basin |  | Surface water collection |  | 0% | 0% | 0% | 100% | 0% | 100% | 0 | 0 | 0 | 0.11124 | 0
East Darfur |  | 328 |  |  | 83533 |  | Alluvial basin |  | Surface water collection |  | 0% | 0% | 0% | 100% | 0% | 100% | 0 | 0 | 0 | 0.083533 | 0
West Kordofan State |  | 1020 |  |  | 259560 |  | Alluvial basin |  | Surface water collection |  | 0% | 0% | 0% | 100% | 0% | 100% | 0 | 0 | 0 | 0.25956 | 0
South Kordofan State |  | 874 |  |  | 222377 |  | Alluvial basin |  | Surface water collection |  | 0% | 0% | 0% | 100% | 0% | 100% | 0 | 0 | 0 | 0.22238 | 0
Kassala state |  | 583 |  |  | 148423 |  | Alluvial basin |  | Surface water collection |  | 0% | 0% | 0% | 100% | 0% | 100% | 0 | 0 | 0 | 0.14842 | 0
Red Sea state |  | 683 |  |  | 173864 |  | Alluvial basin |  | Surface water collection |  | 0% | 0% | 0% | 100% | 0% | 100% | 0 | 0 | 0 | 0.17386 | 0
Northern state |  | 607 |  |  | 154500 |  | Nubian sandstone |  | Groundwater extraction |  | 40% | 60% | 0% | 0% | 0% | 100% | 0.0618 | 0.0927 | 0 | 0 | 0
Khartoum state |  | 286 |  |  | 72821 |  | Nubian sandstone |  | Groundwater extraction |  | 33.33% | 66.67% | 0% | 0% | 0% | 100% | 0.024274 | 0.048547 | 0 | 0 | 0
Total |  | 5000 |  |  | 1272668 | [11 empty] | 0.086074 | 0.14125 | 0 | 1.0453 | 0
Assumed distribution of project interventions |  |  |  |  | back | source: Ali Hamid Yousif; sent as attachment entitled: "Water balance_20191107.xlsx" on email from Min on 7 November
State |  | Locality |  | Village |  | Distribution of interventions
[6 empty] | Ground Water (deep wells) |  | Ground Water (shallow wells)
[6 empty] | Depth - up to extraction of water |  | Depth - up to collection of water
[6 empty] | 70 meter | 70 meter | 5 meter | 5 meter | 5 meter
[6 empty] | 50 m3 per day | 50 m3 per day | 15000-20000 m3 | 1500 m3 | 15000 m3
[6 empty] | 2.1.1 | 2.1.2 | 2.2.1 | 2.2.2 | 2.3.1
# | Name | # | Name | # | Name | rehabilitated water yards | new water yards | Sand storage dams | Pumps | Hafirs
1 | West Darfur State | 1 | Genana | 1 | Aish bara | 0 | 0 | 1 | 1 | 1
|  |  |  | 2 | Kotri | 1 | 0 | 0 | 0 | 1
|  |  |  | 3 | Gargar | 0 | 0 | 0 | 0 | 1
|  |  |  | 4 | Atia | 0 | 0 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 1 | 0 | 1 | 1 | 4
|  | 2 | Krenik | 5 | Habila kanari | 0 | 1 | 1 | 1 | 2
|  | State subtotal |  |  |  | 1 | 1 | 2 | 2 | 6
2 | Central Darfur State | 3 | Zalingi | 6 | Abtta | 1 | 0 | 0 | 0 | 1
|  |  |  | 7 | Androw | 1 | 0 | 1 | 0 | 1
|  |  |  | 8 | Calgo | 0 | 0 | 1 | 1 | 1
|  |  |  | 9 | Fasi | 0 | 0 | 0 | 1 | 1
|  |  |  | 10 | Kotairi | 0 | 1 | 0 | 0 | 1
|  |  |  | 11 | Dankouj | 0 | 0 | 1 | 0 | 1
|  |  |  | 12 | Shawa | 0 | 1 | 0 | 0 | 1
|  |  |  | 13 | Tamor Bolgameel | 0 | 0 | 1 | 0 | 1
|  |  |  | Locality subtotal |  | 2 | 2 | 4 | 2 | 8
|  | 4 | Azoom | 14 | Rangatas | 1 | 0 | 1 | 1 | 1
|  |  |  | 15 | Momo | 0 | 0 | 0 | 0 | 1
|  |  |  | 16 | Umshalaya | 0 | 1 | 1 | 0 | 1
|  |  |  | 17 | Finfiny | 0 | 1 | 0 | 0 | 0
|  |  |  | Locality subtotal |  | 1 | 2 | 2 | 1 | 3
|  | State subtotal |  |  |  | 3 | 4 | 6 | 3 | 11
3 | East Darfur State | 5 | ELdain | 18 | Glabi (cluster) 1 | 1 | 0 | 0 | 1 | 1
|  |  |  | 19 | Higliga | 0 | 1 | 0 | 0 | 0
|  |  |  | 20 | Um labania | 0 | 1 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 1 | 2 | 0 | 1 | 2
|  | 6 | Firdous | 21 | Abo sinadirra | 1 | 0 | 0 | 1 | 1
|  |  |  | 22 | Hibaeil | 0 | 1 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 1 | 1 | 0 | 1 | 2
|  | 7 | Asalia | 23 | Abusaida | 0 | 0 | 0 | 1 | 1
|  |  |  | 24 | Um goura | 0 | 0 | 0 | 0 | 1
|  |  |  | 25 | Gazala jawazat | 0 | 1 | 0 | 0 | 1
|  |  |  | 26 | Kilaikil | 0 | 1 | 0 | 0 | 2
|  |  |  | Locality subtotal |  | 0 | 2 | 0 | 1 | 5
|  | State subtotal |  |  |  | 2 | 5 | 0 | 3 | 9
4 | West Kordofan State | 8 | Al Nohoud | 36 | Alrawiana | 1 | 0 | 0 | 1 | 0
|  |  |  | 37 | Omragaditi | 0 | 0 | 0 | 1 | 1
|  |  |  | 38 | Alsibahat | 0 | 1 | 0 | 1 | 1
|  |  |  | 39 | Alzilata | 0 | 0 | 0 | 0 | 0
|  |  |  | 40 | Abusairor | 0 | 1 | 0 | 0 | 1
|  |  |  | 41 | Abushiror | 0 | 1 | 0 | 0 | 0
|  |  |  | 42 | Awladgibril | 0 | 0 | 0 | 0 | 0
|  |  |  | 43 | Abusabiba | 0 | 1 | 0 | 0 | 1
|  |  |  | 44 | Alshamamia | 0 | 0 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 1 | 4 | 0 | 3 | 5
|  | 9 | Asalam | 27 | Kabara | 1 | 0 | 1 | 1 | 1
|  |  |  | 28 | Momok | 1 | 0 | 0 | 1 | 0
|  |  |  | 29 | Gagamit | 0 | 1 | 1 | 1 | 1
|  |  |  | 30 | Wasata | 0 | 1 | 0 | 0 | 1
|  |  |  | 31 | Gabash | 0 | 0 | 1 | 0 | 0
|  |  |  | 32 | Eldaba Eltawila | 0 | 1 | 0 | 0 | 1
|  |  |  | 33 | Adona Garab | 0 | 0 | 1 | 0 | 0
|  |  |  | 34 | Shag Elgana | 0 | 1 | 0 | 0 | 0
|  |  |  | 35 | Tirgato | 0 | 0 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 2 | 4 | 4 | 3 | 5
|  | 10 | Alsunut | 45 | Dabkar | 1 | 0 | 0 | 1 | 0
|  |  |  | 46 | Almahfora | 1 | 0 | 1 | 1 | 1
|  |  |  | 47 | Gora Doas | 1 | 0 | 0 | 1 | 0
|  |  |  | 48 | Om resom | 1 | 0 | 1 | 1 | 0
|  |  |  | 49 | Albija | 0 | 0 | 0 | 1 | 1
|  |  |  | 50 | Warnang | 0 | 0 | 0 | 0 | 0
|  |  |  | 51 | Om karkaj | 0 | 1 | 1 | 0 | 0
|  |  |  | 52 | Om shiwaka | 0 | 0 | 0 | 0 | 0
|  |  |  | 53 | Darsalam | 0 | 1 | 1 | 0 | 0
|  |  |  | 54 | Aldagag | 0 | 0 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 4 | 2 | 4 | 5 | 3
|  | State subtotal |  |  |  | 7 | 10 | 8 | 11 | 13
5 | South Kordofan State | 11 | El Goz | 55 | Abudaka | 0 | 0 | 1 | 1 | 1
|  |  |  | 56 | Elshag | 1 | 0 | 1 | 1 | 0
|  |  |  | 57 | hasan | 1 | 0 | 0 | 1 | 0
|  |  |  | 58 | Umsida | 0 | 0 | 0 | 1 | 0
|  |  |  | 59 | Aredibo | 0 | 0 | 0 | 1 | 1
|  |  |  | 60 | umGanatir | 0 | 1 | 0 | 0 | 1
|  |  |  | 61 | Mnago | 0 | 0 | 1 | 0 | 0
|  |  |  | 62 | Hiltmhmd Nur | 0 | 1 | 0 | 0 | 1
|  |  |  | 63 | Threbeja | 0 | 0 | 1 | 0 | 1
|  |  |  | 64 | Ajour | 0 | 1 | 0 | 0 | 0
|  |  |  | 65 | Nabag | 0 | 1 | 0 | 0 | 1
|  |  |  | 66 | Hamar galaba | 0 | 1 | 0 | 0 | 0
|  |  |  | Locality subtotal |  | 2 | 5 | 4 | 5 | 6
|  | 12 | Dilling | 67 | Barka | 1 | 0 | 0 | 1 | 1
|  |  |  | 68 | Tokma | 1 | 0 | 1 | 1 | 0
|  |  |  | 69 | Umishush | 1 | 0 | 0 | 1 | 1
|  |  |  | 70 | Eltamet | 0 | 0 | 0 | 1 | 0
|  |  |  | 71 | Dagag | 0 | 0 | 0 | 1 | 1
|  |  |  | 72 | Eltibetia | 0 | 0 | 1 | 1 | 0
|  |  |  | 73 | Elhimedia | 0 | 1 | 0 | 0 | 1
|  |  |  | 74 | Nurelhuda | 0 | 1 | 0 | 0 | 0
|  |  |  | 75 | Elnila | 0 | 1 | 0 | 0 | 1
|  |  |  | 76 | Eldain | 0 | 0 | 0 | 0 | 0
|  |  |  | 77 | Umalwan | 0 | 1 | 1 | 0 | 1
|  |  |  | 78 | Farshia | 0 | 1 | 1 | 0 | 0
|  |  |  | Locality subtotal |  | 3 | 5 | 4 | 6 | 6
|  | State subtotal |  |  |  | 5 | 10 | 8 | 11 | 12
6 | Kassala State | 13 | Kassala | 79 | Kassala | 1 | 0 | 0 | 1 | 0
|  |  |  | 80 | Wad sharefaie | 1 | 0 | 0 | 0 | 0
|  |  |  | 81 | Alshokria | 0 | 0 | 0 | 0 | 0
|  |  |  | 82 | Aljamam | 0 | 1 | 0 | 0 | 0
|  |  |  | 83 | Tajoj | 0 | 1 | 0 | 0 | 0
|  |  |  | 84 | Sabeel | 0 | 0 | 1 | 0 | 1
|  |  |  | Locality subtotal |  | 2 | 2 | 1 | 1 | 1
|  | 14 | Telkuk | 85 | Talkouk | 1 | 0 | 1 | 1 | 1
|  |  |  | 86 | Tahadi | 0 | 0 | 0 | 0 | 0
|  |  |  | 87 | Tawiat | 0 | 1 | 0 | 0 | 1
|  |  |  | 88 | Tahjar | 0 | 1 | 0 | 0 | 1
|  |  |  | 89 | Temikeet | 0 | 0 | 1 | 0 | 1
|  |  |  | Locality subtotal |  | 1 | 2 | 2 | 1 | 4
|  | 15 | Rural Nhr Atbra | 90 | Mazar 24 | 0 | 0 | 0 | 1 | 1
|  |  |  | 91 | Azaza | 0 | 0 | 0 | 1 | 0
|  |  |  | 92 | Simidaha | 0 | 0 | 0 | 0 | 1
|  |  |  | 93 | Juneed | 0 | 1 | 0 | 0 | 1
|  |  |  | 94 | Village10 | 0 | 1 | 0 | 0 | 0
|  |  |  | Locality subtotal |  | 0 | 2 | 0 | 2 | 3
|  | Subtotal |  | State subtotal |  | 3 | 6 | 3 | 4 | 8
7 | Red Sea State | 16 | Agig | 95 | Agig | 1 | 0 | 1 | 1 | 1
|  |  |  | 96 | Adobana | 1 | 0 | 0 | 0 | 1
|  |  |  | 97 | Agitar | 0 | 1 | 0 | 0 | 0
|  |  |  | 98 | Aiterba | 0 | 0 | 0 | 0 | 0
|  |  |  | 99 | Garora | 0 | 1 | 0 | 0 | 1
|  |  |  | 100 | Andal | 0 | 0 | 0 | 0 | 0
|  |  |  | Locality subtotal |  | 2 | 2 | 1 | 1 | 3
|  | 17 | Dordaib/Haya | 101 | Adarhi | 0 | 0 | 0 | 1 | 1
|  |  |  | 102 | Shora Amrab | 1 | 0 | 0 | 0 | 1
|  |  |  | 103 | Shora Hawin | 0 | 0 | 1 | 0 | 0
|  |  |  | Locality subtotal |  | 1 | 0 | 1 | 1 | 2
|  | 18 | Guneb Olib | 104 | Rabaeyet | 1 | 0 | 0 | 1 | 1
|  |  |  | 105 | Arbabeyeb | 0 | 1 | 0 | 1 | 1
|  |  |  | 106 | Godeedit | 0 | 0 | 0 | 1 | 0
|  |  |  | 107 | Balonaye | 0 | 1 | 0 | 1 | 1
|  |  |  | 108 | Agwambt-sarar | 0 | 0 | 0 | 1 | 0
|  |  |  | 109 | Dadat | 0 | 1 | 1 | 0 | 1
|  |  |  | 110 | Amor Sarara | 0 | 0 | 0 | 0 | 1
|  |  |  | 111 | Mahale-Meserar | 0 | 1 | 0 | 0 | 0
|  |  |  | 112 | Togaylawo | 0 | 0 | 0 | 0 | 0
|  |  |  | 113 | Hayet-wassat | 0 | 0 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 1 | 4 | 1 | 5 | 6
|  | Subtotal |  | State subtotal |  | 4 | 6 | 3 | 7 | 11
8 | Northern State | 18 | Dongala | 114 | AlKhwai | 1 | 0 | 0 | 1 | 0
|  |  |  | 115 | Labab | 1 | 0 | 0 | 1 | 0
|  |  |  | 116 | Shaeg | 0 | 0 | 0 | 1 | 0
|  |  |  | 117 | Jertoad | 0 | 1 | 0 | 0 | 0
|  |  |  | 118 | Aloagal | 0 | 0 | 0 | 0 | 0
|  |  |  | 119 | Gaabellagia | 0 | 1 | 0 | 0 | 0
|  |  |  | 120 | Algouba | 0 | 1 | 0 | 0 | 0
|  |  |  | Locality subtotal |  | 2 | 3 | 0 | 3 | 0
|  | 20 | Marawi | 121 | Mora | 1 | 0 | 0 | 1 | 0
|  |  |  | 122 | Kori | 0 | 0 | 0 | 1 | 0
|  |  |  | 123 | Kannar | 0 | 1 | 0 | 1 | 0
|  |  |  | 124 | Algorair | 0 | 0 | 0 | 0 | 0
|  |  |  | 125 | Osli | 0 | 0 | 0 | 0 | 0
|  |  |  | 126 | Om Jawaseer | 0 | 1 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 1 | 2 | 0 | 3 | 1
|  | 21 | AlDabaha | 127 | Argi | 1 | 0 | 0 | 1 | 1
|  |  |  | 128 | Alafad | 0 | 0 | 0 | 0 | 0
|  |  |  | 129 | Selib | 0 | 1 | 0 | 0 | 0
|  |  |  | 130 | Tanganrati | 0 | 0 | 0 | 0 | 0
|  |  |  | Locality subtotal |  | 1 | 1 | 0 | 1 | 1
|  | Subtotal |  | State subtotal |  | 4 | 6 | 0 | 7 | 2
9 | Khartoum State | 22 | Rural Umdorman | 131 | Abuhleaf | 1 | 0 | 0 | 1 | 0
|  |  |  | 132 | Mondra | 0 | 0 | 0 | 1 | 0
|  |  |  | 133 | Fatasha Elgadima | 0 | 1 | 0 | 0 | 0
|  |  |  | 134 | Fatasha Elzaoia | 0 | 0 | 0 | 0 | 0
|  |  |  | Locality subtotal |  | 1 | 1 | 0 | 1 | 0
|  | 23 | Rural Sharg ElNil | 135 | Algaba abuzaid | 1 | 0 | 0 | 1 | 1
|  |  |  | 136 | Elhour | 0 | 1 | 0 | 0 | 0
|  |  |  | 137 | Elhoela | 0 | 0 | 0 | 0 | 1
|  |  |  | 138 | Elakoda | 0 | 0 | 0 | 0 | 1
|  |  |  | Locality subtotal |  | 0 | 1 | 0 | 1 | 3
|  | Subtotal |  | State subtotal |  | 1 | 2 | 0 | 2 | 3
PROJECT TOTAL |  |  |  | PROJECT TOTAL |  | 30 | 50 | 30 | 50 | 75
Note on A104: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: from 13 Janaury 2020 email from Min: ". . . .I discussed with Dr. Abdel Rahman and kindly find attached response for your further action. Regarding on upper bound calculation, you did not consider Nubian Sand Stone Aquifer (1915 times). .. . ."

## Summary
GCF proposal "Building resilience in the face of climate change within traditional rain fed agricultural and pastoral systems in Sudan"
Water balance analysis
Summary of current and project-related groundwater use from deep and shallow wells
back to Index
Summary
Groundwater source |  | Groundwater Use (Mm3/yr) | [8 empty] | Recharge rate (Mm3/year) | Abstraction rate as % of recharge rate | Current and project-related water use as share of renewable recharge supply < 70% ?
|  | Current use |  |  | Project use |  |  | Total use
Basin | Aquifer | Deep wells | Shallow wells | Subtotal | Deep wells | Shallow wells | Subtotal | Deep wells | Shallow wells | Total
Alluvium | Alluvial | 0 | 2.0645 | 2.0645 | 0.365 | 13.9709 | 14.3359 | 0.365 | 16.0354 | 16.4004 | 375 | 4.373% | Yes
Atbara | Nubian Sandstone | 1.4527 | 9.8485 | 11.3012 | 0.3285 | 10.0034 | 10.3319 | 1.7812 | 19.8519 | 21.6331 | 1915 | 1.13% | Yes
Bagara | Um Rawaba | 6.694 | 0.028251 | 6.7223 | 1.4235 | 49.8405 | 51.264 | 8.1175 | 49.8687 | 57.9862 | 600 | 9.664% | Yes
Basalt | Nubian Sandstone | 0.045059 | 0 | 0.045059 | 0.073 | 6.6163 | 6.6893 | 0.11806 | 6.6163 | 6.7344 | 1915 | 0.3517% | Yes
Basement | Basement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA
Blue Nile | Nubian Sandstone | 9.8485 | 0 | 9.8485 | 0 | 0 | 0 | 9.8485 | 0 | 9.8485 | 1915 | 0.5143% | Yes
Central Darfur | Nubian Sandstone | 0.016808 | 0 | 0.016808 | 0.2555 | 13.2512 | 13.5067 | 0.27231 | 13.2512 | 13.5235 | 1915 | 0.7062% | Yes
Nuhud | Nubian Sandstone | 0 | 0.98839 | 0.98839 | 0 | 0 | 0 | 0 | 0.98839 | 0.98839 | 1915 | 0.05161% | Yes
Sahara Nile | Nubian Sandstone | 9.8485 | 2.7642 | 12.6127 | 0.18232 | 3.285 | 3.4673 | 10.0308 | 6.0492 | 16.08 | 1915 | 0.8397% | Yes
Sahara Nubian | Nubian Sandstone | 2.7642 | 0 | 2.7642 | 0.5195 | 5.913 | 6.4325 | 3.2837 | 5.913 | 9.1967 | 1915 | 0.4802% | Yes
Sudd | Nubian Sandstone | 0.98839 | 0 | 0.98839 | 0 | 0 | 0 | 0.98839 | 0 | 0.98839 | 1915 | 0.05161% | Yes
Total |  | 31.6582 | 15.6939 | 47.352 | 3.1473 | 102.8803 | 106.0277 | 34.8055 | 118.5742 | 153.3797 | 3265 | 4.698% | Yes

## Current water use
GCF proposal "Building resilience in the face of climate change within traditional rain fed agricultural and pastoral systems in Sudan"
Water balance analysis
Current groundwater use from deep and shallow wells
back to Index
Summary
Groundwater source |  |  | Current groundwater Use (Mm3/yr) |  |  | Recharge rate (Mm3/year) | Abstraction rate as % of recharge rate
Basin |  | Aquifer | Deep wells | Shallow wells | Total
Alluvium |  | Alluvial | 0 | 2.0645 | 2.0645 | 375 | 0.5505%
Atbara |  | Nubian Sandstone | 1.4527 | 9.8485 | 11.3012 | 1915 | 0.5901%
Bagara |  | Um Rawaba | 6.694 | 0.028251 | 6.7223 | 600 | 1.12%
Basalt |  | Nubian Sandstone | 0.045059 | 0 | 0.045059 | 1915 | 0.002353%
Basement |  | Basement | 0 | 0 | 0 | 0 | NA
Blue Nile |  | Nubian Sandstone | 9.8485 | 0 | 9.8485 | 1915 | 0.5143%
Central Darfur |  | Nubian Sandstone | 0.016808 | 0 | 0.016808 | 1915 | 0.0008777%
Nuhud |  | Nubian Sandstone | 0 | 0.98839 | 0.98839 | 1915 | 0.05161%
Sahara Nile |  | Nubian Sandstone | 9.8485 | 2.7642 | 12.6127 | 1915 | 0.6586%
Sahara Nubian |  | Nubian Sandstone | 2.7642 | 0 | 2.7642 | 1915 | 0.1443%
Sudd |  | Nubian Sandstone | 0.98839 | 0 | 0.98839 | 1915 | 0.05161%
Total |  |  | 31.6582 | 15.6939 | 47.352 | 3265 | 1.45%
Total annual existing and project groundwater withdrawals
# | State | Groundwater source |  | Current water Use (Mm3 /year)
|  | Basin | Aquifer | Deep wells | Shallow wells | Total
1 | West Darfur | Bagara | Um Rawaba | 0 | 0.028251 | 0.028251
|  | Basalt | Um Rawaba | 0.028251 | 0 | 0.028251
|  | Basement | Basement | 0 | 0 | 0
|  | Subtotal |  | 0.028251 | 0.028251 | 0.056502
2 | Central Darfur | Central Darfur | Nubian Sandstone | 0.016808 | 0 | 0.016808
|  | Alluvium | Alluvial | 0 | 0.016808 | 0.016808
|  | Basalt | Nubian Sandstone | 0.016808 | 0 | 0.016808
|  | Subtotal |  | 0.033616 | 0.016808 | 0.050425
3 | East Darfur | Bagara | Um Rawaba | 0.17556 | 0 | 0.17556
4 | West Kordfan | Bagara | Um Rawaba | 5.53 | 0 | 5.53
|  | Basement | Basement | 0 | 0 | 0
|  | Subtotal |  | 5.53 | 0 | 5.53
5 | South Kordfan | Bagara | Um Rawaba | 0.98839 | 0 | 0.98839
|  | Nuhud | Nubian Sandstone | 0 | 0.98839 | 0.98839
|  | Sudd | Nubian Sandstone | 0.98839 | 0 | 0.98839
|  | Basement | Basement | 0 | 0 | 0
|  | Subtotal |  | 1.9768 | 0.98839 | 2.9652
6 | Kasala | Alluvium | Alluvial | 0 | 1.4527 | 1.4527
|  | Atbara | Nubian Sandstone | 1.4527 | 0 | 1.4527
|  | Basement | Basement | 0 | 0 | 0
|  | Subtotal |  | 1.4527 | 1.4527 | 2.9053
7 | Red Sea | Alluvium | Alluvial | 0 | 0.59506 | 0.59506
|  | Basement | Basement | 0 | 0 | 0
|  | Subtotal |  | 0 | 0.59506 | 0.59506
8 | Northern | Sahara Nile | Nubian Sandstone | 0 | 2.7642 | 2.7642
|  | Sahara Nubian | Nubian Sandstone | 2.7642 | 0 | 2.7642
|  | Subtotal |  | 2.7642 | 2.7642 | 5.5284
9 | Khartoum | Sahara Nile | Nubian Sandstone | 9.8485 | 0 | 9.8485
|  | Atbara | Other alluvial | 0 | 9.8485 | 9.8485
|  | Blue Nile | Nubian Sandstone | 9.8485 | 0 | 9.8485
|  | Subtotal |  | 19.697 | 9.8485 | 29.5455
Total |  |  |  | 31.6582 | 15.6939 | 47.352

## Project water use (deep)
GCF proposal "Building resilience in the face of climate change within traditional rain fed agricultural and pastoral systems in Sudan"
Water balance analysis
Project-related groundwater withdrawals from deep wells
back to Index
Summary
Groundwater source |  |  |  | Project groundwater use from deep wells (Mm3/yr) |  | Recharge rate (Mm3/year) |  | Abstraction rate as % of recharge rate
Basin |  | Aquifer
Alluvium |  | Alluvial |  | 0.365 |  | 375 |  | 0.09733%
Atbara |  | Nubian Sandstone |  | 0.3285 |  | 1915 |  | 0.01715%
Bagara |  | Um Rawaba |  | 1.4235 |  | 600 |  | 0.2373%
Basalt |  | Nubian Sandstone |  | 0.073 |  | 1915 |  | 0.003812%
Basement |  | Basement |  | 0 |  | 0 |  | NA
Blue Nile |  | Nubian Sandstone |  | 0 |  | 1915 |  | 0%
Central Darfur |  | Nubian Sandstone |  | 0.2555 |  | 1915 |  | 0.01334%
Nuhud |  | Nubian Sandstone |  | 0 |  | 1915 |  | 0%
Sahara Nile |  | Nubian Sandstone |  | 0.18232 |  | 1915 |  | 0.009521%
Sahara Nubian |  | Nubian Sandstone |  | 0.5195 |  | 1915 |  | 0.02713%
Sudd |  | Nubian Sandstone |  | 0 |  | 1915 |  | 0%
Total |  |  |  | 3.1473 |  | 3265 |  | 0.0964%
Total annual project-related groundwater withdrawals from deep wells
# | State | # | Locality | Groundwater source |  | # of installations |  |  | Ground water use associated with project interventions (Mm3/year)
[9 empty] | Human |  |  | Livestock |  |  | Agriculture |  |  | Women's gardens |  |  | Total
[6 empty] | rehabilitated water yards | new water yards | Sub-Total | rehabilitated water yards | new water yards | Sub-Total | rehabilitated water yards | new water yards | Sub-Total | rehabilitated water yards | new water yards | Sub-Total | rehabilitated water yards | new water yards | Sub-Total | rehabilitated water yards | new water yards | Total
|  |  |  | Basin | Aquifer | 2.1.1 | 2.1.2 |  | 2.1.1 | 2.1.2 |  | 2.1.1 | 2.1.2 |  | 2.1.1 | 2.1.2 |  | 2.1.1 | 2.1.2 |  | 2.1.2 | 2.1.2
1 | West Darfur State | 1 | Genana | Basalt | Um Rawaba | 1 | 0 | 1 | 0.01825 | 0 | 0.01825 | 0.01825 | 0 | 0.01825 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0 | 0.0365
|  | 2 | Krenik | Basalt | Um Rawaba | 0 | 1 | 1 | 0 | 0.01825 | 0.01825 | 0 | 0.01825 | 0.01825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0.0365
|  | State subtotal |  |  |  | 1 | 1 | 2 | 0.01825 | 0.01825 | 0.0365 | 0.01825 | 0.01825 | 0.0365 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0.0365 | 0.073
2 | Central Darfur State | 3 | Zalingi | Central Darfur | Nubian Sandstone | 2 | 2 | 4 | 0.0365 | 0.0365 | 0.073 | 0.0365 | 0.0365 | 0.073 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.073 | 0.146
|  | 4 | Azoom | Central Darfur | Nubian Sandstone | 1 | 2 | 3 | 0.01825 | 0.0365 | 0.05475 | 0.01825 | 0.0365 | 0.05475 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0.073 | 0.1095
|  | State subtotal |  |  |  | 3 | 4 | 7 | 0.05475 | 0.073 | 0.12775 | 0.05475 | 0.073 | 0.12775 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1095 | 0.146 | 0.2555
3 | East Darfur State | 5 | ELdain | Bagara | Um Rawaba | 1 | 2 | 3 | 0.01825 | 0.0365 | 0.05475 | 0.01825 | 0.0365 | 0.05475 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0.073 | 0.1095
|  | 6 | Firdous | Bagara | Um Rawaba | 1 | 1 | 2 | 0.01825 | 0.01825 | 0.0365 | 0.01825 | 0.01825 | 0.0365 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0.0365 | 0.073
|  | 7 | Asalia | Bagara | Um Rawaba | 0 | 2 | 2 | 0 | 0.0365 | 0.0365 | 0 | 0.0365 | 0.0365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.073
|  | State subtotal |  |  |  | 2 | 5 | 7 | 0.0365 | 0.09125 | 0.12775 | 0.0365 | 0.09125 | 0.12775 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.1825 | 0.2555
4 | West Kordofan State | 8 | Al Nohoud | Bagara | Um Rawaba | 1 | 4 | 5 | 0.01825 | 0.073 | 0.09125 | 0.01825 | 0.073 | 0.09125 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0.146 | 0.1825
|  | 9 | Asalam | Bagara | Um Rawaba | 2 | 4 | 6 | 0.0365 | 0.073 | 0.1095 | 0.0365 | 0.073 | 0.1095 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.146 | 0.219
|  | 10 | Alsunut | Bagara | Um Rawaba | 4 | 2 | 6 | 0.073 | 0.0365 | 0.1095 | 0.073 | 0.0365 | 0.1095 | 0 | 0 | 0 | 0 | 0 | 0 | 0.146 | 0.073 | 0.219
|  | State subtotal |  |  |  | 7 | 10 | 17 | 0.12775 | 0.1825 | 0.31025 | 0.12775 | 0.1825 | 0.31025 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2555 | 0.365 | 0.6205
5 | South Kordofan State | 11 | El Goz | Bagara | Um Rawaba | 2 | 5 | 7 | 0.0365 | 0.09125 | 0.12775 | 0.0365 | 0.09125 | 0.12775 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.1825 | 0.2555
|  | 12 | Dilling | Bagara | Um Rawaba | 3 | 5 | 8 | 0.05475 | 0.09125 | 0.146 | 0.05475 | 0.09125 | 0.146 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1095 | 0.1825 | 0.292
|  | State subtotal |  |  |  | 5 | 10 | 15 | 0.09125 | 0.1825 | 0.27375 | 0.09125 | 0.1825 | 0.27375 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1825 | 0.365 | 0.5475
6 | Kassala State | 13 | Kassala | Atbara | Nubian Sandstone | 2 | 2 | 4 | 0.0365 | 0.0365 | 0.073 | 0.0365 | 0.0365 | 0.073 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.073 | 0.146
|  | 14 | Telkuk | Atbara | Nubian Sandstone | 1 | 2 | 3 | 0.01825 | 0.0365 | 0.05475 | 0.01825 | 0.0365 | 0.05475 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0.073 | 0.1095
|  | 15 | Rural Nhr Atbra | Atbara | Nubian Sandstone | 0 | 2 | 2 | 0 | 0.0365 | 0.0365 | 0 | 0.0365 | 0.0365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.073
|  | State subtotal |  |  |  | 3 | 6 | 9 | 0.05475 | 0.1095 | 0.16425 | 0.05475 | 0.1095 | 0.16425 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1095 | 0.219 | 0.3285
7 | Red Sea State | 16 | Agig | Alluvium | Alluvial | 2 | 2 | 4 | 0.0365 | 0.0365 | 0.073 | 0.0365 | 0.0365 | 0.073 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073 | 0.073 | 0.146
|  | 17 | Dordaib/Haya | Alluvium | Alluvial | 1 | 0 | 1 | 0.01825 | 0 | 0.01825 | 0.01825 | 0 | 0.01825 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0 | 0.0365
|  | 18 | Guneb Olib | Alluvium | Alluvial | 1 | 4 | 5 | 0.01825 | 0.073 | 0.09125 | 0.01825 | 0.073 | 0.09125 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0365 | 0.146 | 0.1825
|  | State subtotal |  |  |  | 4 | 6 | 10 | 0.073 | 0.1095 | 0.1825 | 0.073 | 0.1095 | 0.1825 | 0 | 0 | 0 | 0 | 0 | 0 | 0.146 | 0.219 | 0.365
8 | Northern State | 18 | Dongala | Sahara Nubian | Nubian Sandstone | 2 | 3 | 5 | 0.0365 | 0.05475 | 0.09125 | 0.0365 | 0.05475 | 0.09125 | 0 | 0 | 0 | 0.0309 | 0.04635 | 0.07725 | 0.1039 | 0.15585 | 0.25975
|  | 20 | Marawi | Sahara Nubian | Nubian Sandstone | 1 | 2 | 3 | 0.01825 | 0.0365 | 0.05475 | 0.01825 | 0.0365 | 0.05475 | 0 | 0 | 0 | 0.01545 | 0.0309 | 0.04635 | 0.05195 | 0.1039 | 0.15585
|  | 21 | AlDabaha | Sahara Nubian | Nubian Sandstone | 1 | 1 | 2 | 0.01825 | 0.01825 | 0.0365 | 0.01825 | 0.01825 | 0.0365 | 0 | 0 | 0 | 0.01545 | 0.01545 | 0.0309 | 0.05195 | 0.05195 | 0.1039
|  | State subtotal |  |  |  | 4 | 6 | 10 | 0.073 | 0.1095 | 0.1825 | 0.073 | 0.1095 | 0.1825 | 0 | 0 | 0 | 0.0618 | 0.0927 | 0.1545 | 0.2078 | 0.3117 | 0.5195
9 | Khartoum State | 22 | Rural Umdorman | Sahara Nile | Nubian Sandstone | 1 | 1 | 2 | 0.01825 | 0.01825 | 0.0365 | 0.01825 | 0.01825 | 0.0365 | 0 | 0 | 0 | 0.024274 | 0.024274 | 0.048547 | 0.060774 | 0.060774 | 0.12155
|  | 23 | Rural Sharg ElNil | Sahara Nile | Nubian Sandstone | 0 | 1 | 1 | 0 | 0.01825 | 0.01825 | 0 | 0.01825 | 0.01825 | 0 | 0 | 0 | 0 | 0.024274 | 0.024274 | 0 | 0.060774 | 0.060774
|  | State subtotal |  |  |  | 1 | 2 | 3 | 0.01825 | 0.0365 | 0.05475 | 0.01825 | 0.0365 | 0.05475 | 0 | 0 | 0 | 0.024274 | 0.048547 | 0.072821 | 0.060774 | 0.12155 | 0.18232
PROJECT TOTAL | [5 empty] | 30 | 50 | 80 | 0.5475 | 0.9125 | 1.46 | 0.5475 | 0.9125 | 1.46 | 0 | 0 | 0 | 0.086074 | 0.14125 | 0.22732 | 1.1811 | 1.9662 | 3.1473

## Project water use (shallow)
GCF proposal "Building resilience in the face of climate change within traditional rain fed agricultural and pastoral systems in Sudan"
Water balance analysis
Project-related groundwater withdrawals from shallow wells
back to Index
Summary
Groundwater source |  |  |  | Project groundwater use from shallow wells (Mm3/yr) |  | Recharge rate (Mm3/year) |  | Abstraction rate as % of recharge rate
Basin |  | Aquifer
Alluvium |  | Alluvial |  | 13.9709 |  | 375 |  | 3.726%
Atbara |  | Nubian Sandstone |  | 10.0034 |  | 375 |  | 2.668%
Bagara |  | Um Rawaba |  | 49.8405 |  | 375 |  | 13.29%
Basalt |  | Nubian Sandstone |  | 6.6163 |  | 375 |  | 1.764%
Basement |  | Basement |  | 0 |  | 0 |  | NA
Blue Nile |  | Nubian Sandstone |  | 0 |  | 375 |  | 0%
Central Darfur |  | Nubian Sandstone |  | 13.2512 |  | 375 |  | 3.534%
Nuhud |  | Nubian Sandstone |  | 0 |  | 375 |  | 0%
Sahara Nile |  | Nubian Sandstone |  | 3.285 |  | 375 |  | 0.876%
Sahara Nubian |  | Nubian Sandstone |  | 5.913 |  | 375 |  | 1.577%
Sudd |  | Nubian Sandstone |  | 0 |  | 375 |  | 0%
Total |  |  |  | 102.8803 |  | 1500 |  | 6.859%
Total annual project-related groundwater withdrawals from shallow wells
# | State | # | Locality | Groundwater source |  | # of installations |  |  |  | Ground water use associated with project interventions (Mm3/year)
[10 empty] | Human |  |  |  | Livestock |  |  |  | Agriculture |  |  |  | Women's gardens |  |  |  | Total
[6 empty] | Sand storage dams | Pumps | Hafirs | Sub-Total | Sand storage dams | Pumps | Hafirs | Sub-Total | Sand storage dams | Pumps | Hafirs | Sub-Total | Sand storage dams | Pumps | Hafirs | Sub-Total | Sand storage dams | Pumps | Hafirs | Sub-Total | Sand storage dams | Pumps | Hafirs | Total
|  |  |  | Basin | Aquifer | 2.2.1 | 2.2.2 | 2.3.1 |  | 2.2.1 | 2.2.2 | 2.3.1 |  | 2.2.1 | 2.2.2 | 2.3.1 |  | 2.2.1 | 2.2.2 | 2.3.1 |  | 2.2.1 | 2.2.2 | 2.3.1 |  | 2.2.1 | 2.2.2 | 2.3.1
1 | West Darfur State | 1 | Genana | Basalt | Um Rawaba | 1 | 1 | 4 | 6 | 0.01825 | 0.01825 | 0.073 | 0.1095 | 0.01825 | 0.01825 | 0.073 | 0.1095 | 0.6205 | 0.6205 | 2.482 | 3.723 | 0 | 0.023175 | 0 | 0.023175 | 0.657 | 0.68017 | 2.628 | 3.9652
|  | 2 | Krenik | Basalt | Um Rawaba | 1 | 1 | 2 | 4 | 0.01825 | 0.01825 | 0.0365 | 0.073 | 0.01825 | 0.01825 | 0.0365 | 0.073 | 0.6205 | 0.6205 | 1.241 | 2.482 | 0 | 0.023175 | 0 | 0.023175 | 0.657 | 0.68017 | 1.314 | 2.6512
|  | State subtotal |  |  |  | 2 | 2 | 6 | 10 | 0.0365 | 0.0365 | 0.1095 | 0.1825 | 0.0365 | 0.0365 | 0.1095 | 0.1825 | 1.241 | 1.241 | 3.723 | 6.205 | 0 | 0.04635 | 0 | 0.04635 | 1.314 | 1.3603 | 3.942 | 6.6163
2 | Central Darfur State | 3 | Zalingi | Central Darfur | Nubian Sandstone | 4 | 2 | 8 | 14 | 0.073 | 0.0365 | 0.146 | 0.2555 | 0.073 | 0.0365 | 0.146 | 0.2555 | 2.482 | 1.241 | 4.964 | 8.687 | 0 | 0.07416 | 0 | 0.07416 | 2.628 | 1.3882 | 5.256 | 9.2722
|  | 4 | Azoom | Central Darfur | Nubian Sandstone | 2 | 1 | 3 | 6 | 0.0365 | 0.01825 | 0.05475 | 0.1095 | 0.0365 | 0.01825 | 0.05475 | 0.1095 | 1.241 | 0.6205 | 1.8615 | 3.723 | 0 | 0.03708 | 0 | 0.03708 | 1.314 | 0.69408 | 1.971 | 3.9791
|  | State subtotal |  |  |  | 6 | 3 | 11 | 20 | 0.1095 | 0.05475 | 0.20075 | 0.365 | 0.1095 | 0.05475 | 0.20075 | 0.365 | 3.723 | 1.8615 | 6.8255 | 12.41 | 0 | 0.11124 | 0 | 0.11124 | 3.942 | 2.0822 | 7.227 | 13.2512
3 | East Darfur State | 5 | ELdain | Bagara | Um Rawaba | 0 | 1 | 2 | 3 | 0 | 0.01825 | 0.0365 | 0.05475 | 0 | 0.01825 | 0.0365 | 0.05475 | 0 | 0.6205 | 1.241 | 1.8615 | 0 | 0.027844 | 0 | 0.027844 | 0 | 0.68484 | 1.314 | 1.9988
|  | 6 | Firdous | Bagara | Um Rawaba | 0 | 1 | 2 | 3 | 0 | 0.01825 | 0.0365 | 0.05475 | 0 | 0.01825 | 0.0365 | 0.05475 | 0 | 0.6205 | 1.241 | 1.8615 | 0 | 0.027844 | 0 | 0.027844 | 0 | 0.68484 | 1.314 | 1.9988
|  | 7 | Asalia | Bagara | Um Rawaba | 0 | 1 | 5 | 6 | 0 | 0.01825 | 0.09125 | 0.1095 | 0 | 0.01825 | 0.09125 | 0.1095 | 0 | 0.6205 | 3.1025 | 3.723 | 0 | 0.027844 | 0 | 0.027844 | 0 | 0.68484 | 3.285 | 3.9698
|  | State subtotal |  |  |  | 0 | 3 | 9 | 12 | 0 | 0.05475 | 0.16425 | 0.219 | 0 | 0.05475 | 0.16425 | 0.219 | 0 | 1.8615 | 5.5845 | 7.446 | 0 | 0.083533 | 0 | 0.083533 | 0 | 2.0545 | 5.913 | 7.9675
4 | West Kordofan State | 8 | Al Nohoud | Bagara | Um Rawaba | 0 | 3 | 5 | 8 | 0 | 0.05475 | 0.09125 | 0.146 | 0 | 0.05475 | 0.09125 | 0.146 | 0 | 1.8615 | 3.1025 | 4.964 | 0 | 0.070789 | 0 | 0.070789 | 0 | 2.0418 | 3.285 | 5.3268
|  | 9 | Asalam | Bagara | Um Rawaba | 4 | 3 | 5 | 12 | 0.073 | 0.05475 | 0.09125 | 0.219 | 0.073 | 0.05475 | 0.09125 | 0.219 | 2.482 | 1.8615 | 3.1025 | 7.446 | 0 | 0.070789 | 0 | 0.070789 | 2.628 | 2.0418 | 3.285 | 7.9548
|  | 10 | Alsunut | Bagara | Um Rawaba | 4 | 5 | 3 | 12 | 0.073 | 0.09125 | 0.05475 | 0.219 | 0.073 | 0.09125 | 0.05475 | 0.219 | 2.482 | 3.1025 | 1.8615 | 7.446 | 0 | 0.11798 | 0 | 0.11798 | 2.628 | 3.403 | 1.971 | 8.002
|  | State subtotal |  |  |  | 8 | 11 | 13 | 32 | 0.146 | 0.20075 | 0.23725 | 0.584 | 0.146 | 0.20075 | 0.23725 | 0.584 | 4.964 | 6.8255 | 8.0665 | 19.856 | 0 | 0.25956 | 0 | 0.25956 | 5.256 | 7.4866 | 8.541 | 21.2836
5 | South Kordofan State | 11 | El Goz | Bagara | Um Rawaba | 4 | 5 | 6 | 15 | 0.073 | 0.09125 | 0.1095 | 0.27375 | 0.073 | 0.09125 | 0.1095 | 0.27375 | 2.482 | 3.1025 | 3.723 | 9.3075 | 0 | 0.10108 | 0 | 0.10108 | 2.628 | 3.3861 | 3.942 | 9.9561
|  | 12 | Dilling | Bagara | Um Rawaba | 4 | 6 | 6 | 16 | 0.073 | 0.1095 | 0.1095 | 0.292 | 0.073 | 0.1095 | 0.1095 | 0.292 | 2.482 | 3.723 | 3.723 | 9.928 | 0 | 0.1213 | 0 | 0.1213 | 2.628 | 4.0633 | 3.942 | 10.6333
|  | State subtotal |  |  |  | 8 | 11 | 12 | 31 | 0.146 | 0.20075 | 0.219 | 0.56575 | 0.146 | 0.20075 | 0.219 | 0.56575 | 4.964 | 6.8255 | 7.446 | 19.2355 | 0 | 0.22238 | 0 | 0.22238 | 5.256 | 7.4494 | 7.884 | 20.5894
6 | Kassala State | 13 | Kassala | Atbara | Nubian Sandstone | 1 | 1 | 1 | 3 | 0.01825 | 0.01825 | 0.01825 | 0.05475 | 0.01825 | 0.01825 | 0.01825 | 0.05475 | 0.6205 | 0.6205 | 0.6205 | 1.8615 | 0 | 0.037106 | 0 | 0.037106 | 0.657 | 0.69411 | 0.657 | 2.0081
|  | 14 | Telkuk | Atbara | Nubian Sandstone | 2 | 1 | 4 | 7 | 0.0365 | 0.01825 | 0.073 | 0.12775 | 0.0365 | 0.01825 | 0.073 | 0.12775 | 1.241 | 0.6205 | 2.482 | 4.3435 | 0 | 0.037106 | 0 | 0.037106 | 1.314 | 0.69411 | 2.628 | 4.6361
|  | 15 | Rural Nhr Atbra | Atbara | Nubian Sandstone | 0 | 2 | 3 | 5 | 0 | 0.0365 | 0.05475 | 0.09125 | 0 | 0.0365 | 0.05475 | 0.09125 | 0 | 1.241 | 1.8615 | 3.1025 | 0 | 0.074211 | 0 | 0.074211 | 0 | 1.3882 | 1.971 | 3.3592
|  | State subtotal |  |  |  | 3 | 4 | 8 | 15 | 0.05475 | 0.073 | 0.146 | 0.27375 | 0.05475 | 0.073 | 0.146 | 0.27375 | 1.8615 | 2.482 | 4.964 | 9.3075 | 0 | 0.14842 | 0 | 0.14842 | 1.971 | 2.7764 | 5.256 | 10.0034
7 | Red Sea State | 16 | Agig | Alluvium | Alluvial | 1 | 1 | 3 | 5 | 0.01825 | 0.01825 | 0.05475 | 0.09125 | 0.01825 | 0.01825 | 0.05475 | 0.09125 | 0.6205 | 0.6205 | 1.8615 | 3.1025 | 0 | 0.024838 | 0 | 0.024838 | 0.657 | 0.68184 | 1.971 | 3.3098
|  | 17 | Dordaib/Haya | Alluvium | Alluvial | 1 | 1 | 2 | 4 | 0.01825 | 0.01825 | 0.0365 | 0.073 | 0.01825 | 0.01825 | 0.0365 | 0.073 | 0.6205 | 0.6205 | 1.241 | 2.482 | 0 | 0.024838 | 0 | 0.024838 | 0.657 | 0.68184 | 1.314 | 2.6528
|  | 18 | Guneb Olib | Alluvium | Alluvial | 1 | 5 | 6 | 12 | 0.01825 | 0.09125 | 0.1095 | 0.219 | 0.01825 | 0.09125 | 0.1095 | 0.219 | 0.6205 | 3.1025 | 3.723 | 7.446 | 0 | 0.12419 | 0 | 0.12419 | 0.657 | 3.4092 | 3.942 | 8.0082
|  | State subtotal |  |  |  | 3 | 7 | 11 | 21 | 0.05475 | 0.12775 | 0.20075 | 0.38325 | 0.05475 | 0.12775 | 0.20075 | 0.38325 | 1.8615 | 4.3435 | 6.8255 | 13.0305 | 0 | 0.17386 | 0 | 0.17386 | 1.971 | 4.7729 | 7.227 | 13.9709
8 | Northern State | 18 | Dongala | Sahara Nubian | Nubian Sandstone | 0 | 3 | 0 | 3 | 0 | 0.05475 | 0 | 0.05475 | 0 | 0.05475 | 0 | 0.05475 | 0 | 1.8615 | 0 | 1.8615 | 0 | 0 | 0 | 0 | 0 | 1.971 | 0 | 1.971
|  | 20 | Marawi | Sahara Nubian | Nubian Sandstone | 0 | 3 | 1 | 4 | 0 | 0.05475 | 0.01825 | 0.073 | 0 | 0.05475 | 0.01825 | 0.073 | 0 | 1.8615 | 0.6205 | 2.482 | 0 | 0 | 0 | 0 | 0 | 1.971 | 0.657 | 2.628
|  | 21 | AlDabaha | Sahara Nubian | Nubian Sandstone | 0 | 1 | 1 | 2 | 0 | 0.01825 | 0.01825 | 0.0365 | 0 | 0.01825 | 0.01825 | 0.0365 | 0 | 0.6205 | 0.6205 | 1.241 | 0 | 0 | 0 | 0 | 0 | 0.657 | 0.657 | 1.314
|  | State subtotal |  |  |  | 0 | 7 | 2 | 9 | 0 | 0.12775 | 0.0365 | 0.16425 | 0 | 0.12775 | 0.0365 | 0.16425 | 0 | 4.3435 | 1.241 | 5.5845 | 0 | 0 | 0 | 0 | 0 | 4.599 | 1.314 | 5.913
9 | Khartoum State | 22 | Rural Umdorman | Sahara Nile | Nubian Sandstone | 0 | 1 | 0 | 1 | 0 | 0.01825 | 0 | 0.01825 | 0 | 0.01825 | 0 | 0.01825 | 0 | 0.6205 | 0 | 0.6205 | 0 | 0 | 0 | 0 | 0 | 0.657 | 0 | 0.657
|  | 23 | Rural Sharg ElNil | Sahara Nile | Nubian Sandstone | 0 | 1 | 3 | 4 | 0 | 0.01825 | 0.05475 | 0.073 | 0 | 0.01825 | 0.05475 | 0.073 | 0 | 0.6205 | 1.8615 | 2.482 | 0 | 0 | 0 | 0 | 0 | 0.657 | 1.971 | 2.628
|  | State subtotal |  |  |  | 0 | 2 | 3 | 5 | 0 | 0.0365 | 0.05475 | 0.09125 | 0 | 0.0365 | 0.05475 | 0.09125 | 0 | 1.241 | 1.8615 | 3.1025 | 0 | 0 | 0 | 0 | 0 | 1.314 | 1.971 | 3.285
PROJECT TOTAL | [5 empty] | 30 | 50 | 75 | 155 | 0.5475 | 0.9125 | 1.3688 | 2.8287 | 0.5475 | 0.9125 | 1.3688 | 2.8287 | 18.615 | 31.025 | 46.5375 | 96.1775 | 0 | 1.0453 | 0 | 1.0453 | 19.71 | 33.8953 | 49.275 | 102.8803