## TECHNICAL
Development Phase | Inflation Rate | Discount Rate | Irrigation Tariff $US/m3 | Wastewater Return | Climate Scnario | Irrigation Water for Agriculture
Bridgetown Core | 0% | 0% | 0.6 | 100% | No Climate | 80%
Bridgetown Phase 1 | 1% | 1% | 0.8 | 90% | RCP 2.6 | 75%
Bridgetown Phase 2 | 2% | 2% | 1.24 | 80% | RCP 4.5 | 70%
Bridgetown Phase 3 | 3% | 3% | 1.55 | 70% | RCP 6 | 65%
Bridgetown Phase 4 | 4% | 4% | 2.33 | 60% | RCP 8.5 | 60%
Hyatt Ziva Hotel | 5% | 5% | 3.89 | 50%
Waterfront | 6% | 6%
Bridge House Redevelopment | 7% | 7%
Carlisle House Redevelopment | 8% | 8%
Bridgetown CBD Transformation | 10% | 9%
ITEM | Option I | Option II | Option III | OptionV
Net Present Value of Capital Costs | 11735987.8834 | 18502631.5578 | 9822518.1878 | 2083083.7423
Net Present Value of Operation Costs | 6303572.9269 | 11704881.0194 | 5460330.8942 | 1166586.1698
Total Capital & Operations Net Present Value | 18039560.8103 | 30207512.5772 | 15282849.0821 | 3249669.9121
Net Present Volume of Water Supplied | 41501380.2479 | 41501380.2479 | 41501380.2479 | 41501380.2479
Unit cost of water US$/m³ | 0.43467 | 0.72787 | 0.36825 | 0.078303
Net Present Value of Benefits | 9825396.6951 | 64515644.5185 | 64515644.5185 | 23109136.6529
Benefit Cost Ratio | 0.54466 | 2.1357 | 4.2214 | 7.1112
IRR | -7.582% | 17.69% | 38.42% | 49.88%
Climate Scenario | Year
| 2030 | 2040 | 2050
RCP 2.6 | 0.23 | 0.35 | 0.43
RCP 4.5 | 0.19 | 0.4 | 0.74
RCP 6.0 | 0.27 | 0.26 | 0.76
RCP 8.5 | 0.41 | 0.61 | 0.86
Climate Scenario | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
RCP 2.6 | 0% | 0.1278% | 0.2556% | 0.3833% | 0.5111% | 0.6389% | 0.7667% | 0.8944% | 1.022% | 1.15% | 1.21% | 1.27% | 1.33% | 1.39% | 1.45% | 1.51% | 1.57% | 1.63% | 1.69% | 1.75% | 1.79% | 1.83% | 1.87% | 1.91% | 1.95% | 1.99% | 2.03% | 2.07% | 2.11% | 2.15%
RCP 4.5 | 0% | 0.1056% | 0.2111% | 0.3167% | 0.4222% | 0.5278% | 0.6333% | 0.7389% | 0.8444% | 0.95% | 1.055% | 1.16% | 1.265% | 1.37% | 1.475% | 1.58% | 1.685% | 1.79% | 1.895% | 2% | 2.17% | 2.34% | 2.51% | 2.68% | 2.85% | 3.02% | 3.19% | 3.36% | 3.53% | 3.7%
RCP 6.0 | 0% | 0.15% | 0.3% | 0.45% | 0.6% | 0.75% | 0.9% | 1.05% | 1.2% | 1.35% | 1.345% | 1.34% | 1.335% | 1.33% | 1.325% | 1.32% | 1.315% | 1.31% | 1.305% | 1.3% | 1.55% | 1.8% | 2.05% | 2.3% | 2.55% | 2.8% | 3.05% | 3.3% | 3.55% | 3.8%
RCP 8.5 | 0% | 0.2278% | 0.4556% | 0.6833% | 0.9111% | 1.139% | 1.367% | 1.594% | 1.822% | 2.05% | 2.15% | 2.25% | 2.35% | 2.45% | 2.55% | 2.65% | 2.75% | 2.85% | 2.95% | 3.05% | 3.175% | 3.3% | 3.425% | 3.55% | 3.675% | 3.8% | 3.925% | 4.05% | 4.175% | 4.3%

## Dashboard
Dashboard : CBA Wastewater Reuse
Development Phase |  | Waterfront
Climate Scenario |  | RCP 8.5
Inflation rate |  | 0%
Discount rate |  | 3%
Irrigation Water Tariff:US$/m³ |  | 0.6
BWA Commercial Rate |  | 2.33
BADMC Selling Rate |  | 0.3
BADMC Breakeven Rate |  | 0.6
Factor: Wastewater Return % |  | 80%
Factor: Net Water after RO % |  | 80%
Summary | Option I | Option II | Option III | Option IV
Total Capital & Operations Net Present Value | 18.0396 | 30.2075 | 15.2828 | 3.2497
Net Present Volume of Water Supplied | 41.5014 | 41.5014 | 41.5014 | 41.5014
Unit cost of water US$/m³ | 0.43467 | 0.72787 | 0.36825 | 0.078303
Net Present Value of Benefits | 9.8254 | 64.5156 | 64.5156 | 23.1091
Cost Benefit Ratio | 0.54466 | 2.1357 | 4.2214 | 7.1112
IRR | -7.582% | 17.69% | 38.42% | 49.88%

## CB Analysis
Wasterwater Production into the system
ITEM |  | Unit | Selected Phase | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Wastewater Volume |  | m³/year | Waterfront | 752171 | 752171 | 1500786 | 1622199.6 | 2138039.6 | 2218339.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6
Average Daily Wastewater Volume |  | m³/Day |  | 2060.7425 | 2060.7425 | 4111.7425 | 4444.3825 | 5857.6427 | 6077.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427 | 6297.6427
Option I |  |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capital Costs
Total Annual Costs |  |  |  | 2023: 4950000; 2024: 4440000; 2025: 0; 2033: 1075000; 2043: 2075000
Operational Costs
Pipelines - annual maintenance costs |  | 1% | capital cost |  |  |  |  | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000
Pump stations - annual maintenance costs |  | 15% | capital cost |  |  |  |  | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500
Balancing reservoirs - maintenance costs |  | 1% | capital cost |  |  |  |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Injections wells - maintenance costs |  | 10000 | per well |  |  |  |  | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Reverse Osmosis -Operation & Maintenance costs |  | 0.033 | US$/m³ |  |  |  |  | 70555.3068 | 73205.2068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068
Pump stations - power costs per station (2#) |  | 0.035 | US$/m³ |  |  |  |  | 149662.772 | 155283.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772 | 160904.772
| Brine injection pumping costs | 0.005 | US$/m³ |  |  |  |  | 2138.0396 | 2218.3396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396
Total O&M Costs | [7 empty] | 337256.1184 | 345607.3184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184
Total Capital and O&M Costs |  |  |  | 0 | 0 | 4950000 | 4440000 | 337256.1184 | 345607.3184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 1428958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 2428958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184 | 353958.5184
Benefits
Sale of treated reclaimed water | [7 empty] | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5
Farm Revenue
Total |  |  |  | 0 | 0 | 0 | 0 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5 | 583087.5
Cashflow |  |  |  | 0 | 0 | -4950000 | -4440000 | 245831.3816 | 237480.1816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | -845871.0184 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | -1845871.0184 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816 | 229128.9816
Option II |  |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capital Costs
Total Annual Costs |  |  |  | 2023: 6625000; 2024: 5915000; 2025: 4050000; 2033: 1100000; 2043: 2100000
Operational Costs
Pipelines - annual maintenance costs |  | 1% | capital cost |  |  |  |  | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000 | 135000
Pump stations - annual maintenance costs |  | 15% | capital cost |  |  |  |  | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500 | 52500
Balancing reservoirs - maintenance costs |  | 1% | capital cost |  |  |  |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Injections wells - maintenance costs |  | 10000 | per well |  |  |  |  | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Reverse Osmosis -Operation & Maintenance costs |  | 0.033 | US$/m³ |  |  |  |  | 70555.3068 | 73205.2068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068
Pump stations - power costs per station (2#) |  | 0.055 | US$/m³ |  |  |  |  | 352776.534 | 366026.034 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534 | 379275.534
| Brine injection pumping costs | 0.005 | US$/m³ |  |  |  |  | 2138.0396 | 2218.3396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396 | 2298.6396
Total O&M Costs | [7 empty] | 625369.8804 | 641349.5804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804
Total Capital and O&M Costs |  |  |  | 0 | 0 | 6625000 | 5915000 | 4675369.8804 | 641349.5804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 1757329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 2757329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804 | 657329.2804
Benefits
Sale of treated reclaimed water | [7 empty] | 769694.256 | 798602.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256
Farm Revenue | [7 empty] | 2811668.5151 | 2917268.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151
Total |  |  |  | 0 | 0 | 0 | 0 | 3581362.7711 | 3715870.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711
Cashflow |  |  |  | 0 | 0 | -6625000 | -5915000 | -1094007.1093 | 3074521.1907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 2093049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 1093049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907 | 3193049.4907
Option III |  |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capital Costs
Total Annual Costs |  |  |  | 2023: 3950000; 2024: 3440000; 2025: 0; 2033: 1075000; 2043: 2075000
Operational Costs
Pipelines - annual maintenance costs |  | 1% | capital cost |  |  |  |  | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000
Pump stations - annual maintenance costs |  | 15% | capital cost |  |  |  |  | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500
Balancing reservoirs - maintenance costs |  | 1% | capital cost |  |  |  |  | 2400 | 2400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Injections wells - maintenance costs |  | 10000 | per well |  |  |  |  | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Reverse Osmosis -Operation & Maintenance costs |  | 0.033 | US$/m³ |  |  |  |  | 70555.3068 | 73205.2068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068 | 75855.1068
Pump stations - power costs per station (2#) |  | 0.03 | US$/m³ |  |  |  |  | 128282.376 | 133100.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376 | 137918.376
| Brine injection pumping costs | 0.005 | US$/m³ | 2025: 2138.0396
Total O&M Costs | [7 empty] | 295875.7224 | 301205.5828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828
Total Capital and O&M Costs |  |  |  | 0 | 0 | 3950000 | 3440000 | 295875.7224 | 301205.5828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 1381273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 2381273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828 | 306273.4828
Benefits
Sale of treated reclaimed water | [7 empty] | 769694.256 | 798602.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256 | 827510.256
Farm Revenue | [7 empty] | 2811668.5151 | 2917268.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151 | 3022868.5151
Total |  |  |  | 0 | 0 | 0 | 0 | 3581362.7711 | 3715870.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711 | 3850378.7711
Cashflow |  |  |  | 0 | 0 | -3950000 | -3440000 | 3285487.0487 | 3414665.1883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 2469105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 1469105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883 | 3544105.2883
OptionV |  |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capital Costs
Total Annual Costs |  |  |  | 2023: 1700000; 2024: 0; 2025: 0; 2033: 50000; 2043: 450000
Operational Costs
Pipelines - annual maintenance costs |  | 1% | capital cost |  |  |  |  | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000
Pump stations - annual maintenance costs |  | 15% | capital cost |  |  |  |  | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000
Balancing reservoirs - maintenance costs |  | 1% | capital cost |  |  |  |  | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Injections wells - maintenance costs |  | 10000 | per well |  |  |  |  | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Reverse Osmosis -Operation & Maintenance costs |  | 0 | US$/m³ |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pump stations - power costs per station (2#) |  | 0.01 | US$/m³ |  |  |  |  | 21380.396 | 22183.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396 | 22986.396
Total O&M Costs | [7 empty] | 63780.396 | 64583.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396
Total Capital and O&M Costs |  |  |  | 0 | 0 | 1700000 | 0 | 63780.396 | 64583.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 115386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 515386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396 | 65386.396
Benefits
Sale of treated reclaimed water | [7 empty] | 1282823.76 | 1331003.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76
Farm Revenue
Total Revenue |  |  |  | 0 | 0 | 0 | 0 | 1282823.76 | 1331003.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76 | 1379183.76
Cashflow |  |  |  | 0 | 0 | -1700000 | 0 | 1219043.364 | 1266420.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1263797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 863797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364 | 1313797.364

## Wastewater Projections
Population Change Factor | 0.1% | Increase per annum
Technology Change Factor | 0.6% | Decrease per annum
Climate Change Factor
Deatiled water demand based on type of consumption and development phases Bridgetown Sewage Treatement Syatem (m3/year)
Component | Type | Description | Rate | Units | Notes | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Bridgetown Core | Residential | Connections | 685 | number | Taken from number of active accounts | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75 | 137513.75
|  | Volume | 0.55 | m³/conection/day | Calculated from consumption figures up to 03/2020
| Commercial | Volume | 290000 | m³ | Figures from analysis of consumption records 2017 -2021 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000
| Government | Volume | 265000 | m³ |  | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000 | 265000
| Statutory | Volume | 245000 | m³ |  | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000 | 245000
| Port | Volume | 2700 | m³ |  | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700
| Subtotal |  |  |  |  | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75 | 940213.75
Bridgetown Phase 1 | Residential | Connections | 820 | number | As reported by Integrated Sustainability Consultants |  |  | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615 | 164615
|  | Volume | 0.55 | m³/conection/day
| Commercial |  | 25% | % of residential |  |  |  | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75 | 41153.75
| Subtotal | [6 empty] | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75 | 205768.75
Bridgetown Phase 2 | Residential | Connections | 840 | number | Taken from STANTEC Consultants reports |  |  |  | 84315 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630 | 168630
|  | Volume | 0.55 | m³/conection/day
| Commercial |  | 40% | % of residential |  |  |  |  | 33726 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452 | 67452
| Government |  | 20% | % of residential |  |  |  |  | 16863 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726
| Statutory |  | 20% | % of residential |  |  |  |  | 16863 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726 | 33726
| Subtotal | [7 empty] | 151767 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534 | 303534
Bridgetown Phase 3 | Residential | Connections | 35 | number | Taken from STANTEC Consultants reports |  |  |  |  | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853 | 6853
|  | Volume | 0.55 | m³/conection/day
| Commercial |  | 40% | % of residential | [5 empty] | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040 | 108040
| Government |  | 20% | % of residential | [5 empty] | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020
| Statutory |  | 20% | % of residential | [5 empty] | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020 | 54020
| Subtotal | [8 empty] | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933 | 222933
Bridgetown Phase 4 | Residential | Connections | 1000 | number | Taken from STANTEC Consultants reports | [5 empty] | 100375 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750
|  | Volume | 0.55 | m³/conection/day
| Commercial |  | 40% | % of residential | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Government |  | 20% | % of residential | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Statutory |  | 20% | % of residential | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Subtotal | [9 empty] | 100375 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750 | 200750
Hyatt Ziva Hotel | Hotel |  | 1000 | m³/day | Estimate provided by developer. Development is underway - assume operational in 2023 |  |  | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000 | 365000
Waterfront | Residential | Connections | 20 | number | 250-room hotel, condominiums, retail space. Information from Appropriation Bill March 2021 by Sen. Walcott. Operational 2025 |  |  |  |  | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300
|  | Volume | 1 | m³/conection/day | Own estimate
| Commercial | Connections | 20 | number | Own estimate |  |  |  |  | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550 | 25550
|  | Volume | 3.5 | m³/conection/day | Based on analysis of average per connection
| Hotel |  | 650 | m³/day | Estimated based on reported # rooms |  |  |  |  | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250 | 237250
| Subtotal | [8 empty] | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100 | 270100
Bridge House Redevelopment | Residential | Connections | 20 | number | Condominiums and entertainment facilities. Information from Appropriation Bill March 2021 by Sen. Walcot. Own estimate | [6 empty] | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300
|  | Volume | 1 | m³/conection/day | Own estimate
| Commercial | Connections | 5 | number | Own estimate | [6 empty] | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5 | 6387.5
|  | Volume | 3.5 | m³/conection/day | Based on analysis of average per connection
| Subtotal | [10 empty] | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5 | 13687.5
Carlisle House Redevelopment | Residential | Connections | 20 | number | Own estimate | [9 empty] | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300
|  | Volume | 1 | m³/conection/day | Own estimate
| Commercial | Connections | 10 | number | Own estimate | [9 empty] | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775
|  | Volume | 3.5 | m³/conection/day | Based on analysis of average per connection
| Subtotal | [13 empty] | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075
Bridgetown CBD Transformation | Residential | Connections | 20 | number | Own estimate | [9 empty] | 3650 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300
|  | Volume | 1 | m³/conection/day | Own estimate
| Commercial | Connections | 10 | number | Own estimate | [9 empty] | 6387.5 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775 | 12775
|  | Volume | 3.5 | m³/conection/day | Based on analysis of average per connection
| Subtotal | [13 empty] | 10037.5 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075 | 20075
Total Wastewater Consumption by Development Stage Bridegtown Sewage Treatement System ( m³/year)
Develoment Stage | [5 empty] | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Bridgetown Core | [5 empty] | 940213.75 | 942355.348 | 944496.946 | 946638.544 | 948780.1419 | 950921.7399 | 953063.3379 | 955204.9359 | 957346.5339 | 959488.1319 | 960428.3456 | 961368.5594 | 962308.7731 | 963248.9869 | 964189.2006 | 965129.4144 | 966069.6281 | 967009.8419 | 967950.0556 | 968890.2694 | 970065.5366 | 971240.8037 | 972416.0709 | 973591.3381 | 974766.6053 | 975941.8725 | 977117.1397 | 978292.4069 | 979467.6741 | 980642.9412
Bridgetown Phase 1 | [5 empty] | 940213.75 | 942355.348 | 1151203.0869 | 1153813.3804 | 1156423.6739 | 1159033.9674 | 1161644.2608 | 1164254.5543 | 1166864.8478 | 1169475.1412 | 1170621.1238 | 1171767.1062 | 1172913.0888 | 1174059.0713 | 1175205.0538 | 1176351.0362 | 1177497.0188 | 1178643.0012 | 1179788.9838 | 1180934.9663 | 1182367.4444 | 1183799.9225 | 1185232.4006 | 1186664.8788 | 1188097.3569 | 1189529.835 | 1190962.3131 | 1192394.7913 | 1193827.2694 | 1195259.7475
Bridgetown Phase 2 | [5 empty] | 940213.75 | 942355.348 | 1151203.0869 | 1306617.4549 | 1462723.2059 | 1466024.8824 | 1469326.5588 | 1472628.2353 | 1475929.9118 | 1479231.5883 | 1480681.1048 | 1482130.6212 | 1483580.1377 | 1485029.6542 | 1486479.1708 | 1487928.6872 | 1489378.2038 | 1490827.7203 | 1492277.2368 | 1493726.7533 | 1495538.6489 | 1497350.5445 | 1499162.4401 | 1500974.3358 | 1502786.2314 | 1504598.127 | 1506410.0226 | 1508221.9182 | 1510033.8139 | 1511845.7095
Bridgetown Phase 3 | [5 empty] | 940213.75 | 942355.348 | 1151203.0869 | 1306617.4549 | 1687687.3732 | 1691496.8415 | 1695306.3098 | 1699115.7781 | 1702925.2464 | 1706734.7148 | 1708407.1643 | 1710079.6138 | 1711752.0633 | 1713424.5127 | 1715096.9623 | 1716769.4117 | 1718441.8613 | 1720114.3107 | 1721786.7603 | 1723459.2097 | 1725549.7716 | 1727640.3335 | 1729730.8954 | 1731821.4573 | 1733912.0191 | 1736002.581 | 1738093.1429 | 1740183.7048 | 1742274.2666 | 1744364.8285
Bridgetown Phase 4 | [5 empty] | 940213.75 | 942355.348 | 1151203.0869 | 1306617.4549 | 1687687.3732 | 1793015.0012 | 1898799.8932 | 1903066.6254 | 1907333.3576 | 1911600.0898 | 1913473.2893 | 1915346.4888 | 1917219.6883 | 1919092.8877 | 1920966.0873 | 1922839.2867 | 1924712.4863 | 1926585.6857 | 1928458.8853 | 1930332.0847 | 1932673.5841 | 1935015.0835 | 1937356.5829 | 1939698.0823 | 1942039.5816 | 1944381.081 | 1946722.5804 | 1949064.0798 | 1951405.5791 | 1953747.0785
Hyatt Ziva Hotel | [5 empty] | 940213.75 | 942355.348 | 1517865.8647 | 1674111.6216 | 2056012.9288 | 2162171.9457 | 2268788.2265 | 2273886.3476 | 2278984.4687 | 2284082.5897 | 2286320.7893 | 2288558.9888 | 2290797.1883 | 2293035.3877 | 2295273.5873 | 2297511.7867 | 2299749.9863 | 2301988.1857 | 2304226.3853 | 2306464.5847 | 2309262.3341 | 2312060.0835 | 2314857.8329 | 2317655.5822 | 2320453.3316 | 2323251.081 | 2326048.8304 | 2328846.5798 | 2331644.3291 | 2334442.0785
Waterfront | [5 empty] | 940213.75 | 940213.75 | 1875982.5 | 2027749.5 | 2672549.5 | 2772924.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5 | 2873299.5
Bridge House Redevelopment | [5 empty] | 940213.75 | 942355.348 | 1517865.8647 | 1674111.6216 | 2328573.8399 | 2435348.0846 | 2556454.1557 | 2562198.6816 | 2567943.2076 | 2573687.7335 | 2576209.7205 | 2578731.7075 | 2581253.6945 | 2583775.6815 | 2586297.6685 | 2588819.6555 | 2591341.6425 | 2593863.6295 | 2596385.6165 | 2598907.6035 | 2602060.0872 | 2605212.571 | 2608365.0547 | 2611517.5385 | 2614670.0222 | 2617822.506 | 2620974.9898 | 2624127.4735 | 2627279.9572 | 2630432.441
Carlisle House Redevelopment | [5 empty] | 940213.75 | 940213.75 | 1510982.5 | 1510982.5 | 2004015.5 | 2104390.5 | 2218453 | 2218453 | 2218453 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528 | 2238528
Bridgetown CBD Transformation | [5 empty] | 940213.75 | 942355.348 | 1517865.8647 | 1674111.6216 | 2328573.8399 | 2435348.0846 | 2556454.1557 | 2562198.6816 | 2567943.2076 | 2604417.5397 | 2617222.9455 | 2619785.0825 | 2622347.2195 | 2624909.3565 | 2627471.4935 | 2630033.6305 | 2632595.7675 | 2635157.9045 | 2637720.0415 | 2640282.1785 | 2643484.8498 | 2646687.521 | 2649890.1922 | 2653092.8635 | 2656295.5348 | 2659498.206 | 2662700.8772 | 2665903.5485 | 2669106.2197 | 2672308.891
Total Wastewater Volume m³/year
Develoment Stage | [5 empty] | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Bridgetown Core | [5 empty] | 752171 | 753884.2784 | 755597.5568 | 757310.8352 | 759024.1136 | 760737.3919 | 762450.6703 | 764163.9487 | 765877.2271 | 767590.5055 | 768342.6765 | 769094.8475 | 769847.0185 | 770599.1895 | 771351.3605 | 772103.5315 | 772855.7025 | 773607.8735 | 774360.0445 | 775112.2155 | 776052.4293 | 776992.643 | 777932.8567 | 778873.0705 | 779813.2843 | 780753.498 | 781693.7118 | 782633.9255 | 783574.1393 | 784514.353
Bridgetown Phase 1 | [5 empty] | 752171 | 753884.2784 | 920962.4696 | 923050.7043 | 925138.9391 | 927227.1739 | 929315.4087 | 931403.6434 | 933491.8782 | 935580.113 | 936496.899 | 937413.685 | 938330.471 | 939247.257 | 940164.043 | 941080.829 | 941997.615 | 942914.401 | 943831.187 | 944747.973 | 945893.9555 | 947039.938 | 948185.9205 | 949331.903 | 950477.8855 | 951623.868 | 952769.8505 | 953915.833 | 955061.8155 | 956207.798
Bridgetown Phase 2 | [5 empty] | 752171 | 753884.2784 | 920962.4696 | 1045293.9639 | 1170178.5647 | 1172819.9059 | 1175461.2471 | 1178102.5882 | 1180743.9294 | 1183385.2706 | 1184544.8838 | 1185704.497 | 1186864.1102 | 1188023.7234 | 1189183.3366 | 1190342.9498 | 1191502.563 | 1192662.1762 | 1193821.7894 | 1194981.4026 | 1196430.9191 | 1197880.4356 | 1199329.9521 | 1200779.4686 | 1202228.9851 | 1203678.5016 | 1205128.0181 | 1206577.5346 | 1208027.0511 | 1209476.5676
Bridgetown Phase 3 | [5 empty] | 752171 | 753884.2784 | 920962.4696 | 1045293.9639 | 1350149.8986 | 1353197.4732 | 1356245.0479 | 1359292.6225 | 1362340.1972 | 1365387.7718 | 1366725.7314 | 1368063.691 | 1369401.6506 | 1370739.6102 | 1372077.5698 | 1373415.5294 | 1374753.489 | 1376091.4486 | 1377429.4082 | 1378767.3678 | 1380439.8173 | 1382112.2668 | 1383784.7163 | 1385457.1658 | 1387129.6153 | 1388802.0648 | 1390474.5143 | 1392146.9638 | 1393819.4133 | 1395491.8628
Bridgetown Phase 4 | [5 empty] | 752171 | 753884.2784 | 920962.4696 | 1045293.9639 | 1350149.8986 | 1434412.001 | 1519039.9145 | 1522453.3003 | 1525866.686 | 1529280.0718 | 1530778.6314 | 1532277.191 | 1533775.7506 | 1535274.3102 | 1536772.8698 | 1538271.4294 | 1539769.989 | 1541268.5486 | 1542767.1082 | 1544265.6678 | 1546138.8673 | 1548012.0668 | 1549885.2663 | 1551758.4658 | 1553631.6653 | 1555504.8648 | 1557378.0643 | 1559251.2638 | 1561124.4633 | 1562997.6628
Hyatt Ziva Hotel | [5 empty] | 752171 | 753884.2784 | 1214292.6918 | 1339289.2973 | 1644810.343 | 1729737.5566 | 1815030.5812 | 1819109.0781 | 1823187.5749 | 1827266.0718 | 1829056.6314 | 1830847.191 | 1832637.7506 | 1834428.3102 | 1836218.8698 | 1838009.4294 | 1839799.989 | 1841590.5486 | 1843381.1082 | 1845171.6678 | 1847409.8673 | 1849648.0668 | 1851886.2663 | 1854124.4658 | 1856362.6653 | 1858600.8648 | 1860839.0643 | 1863077.2638 | 1865315.4633 | 1867553.6628
Waterfront | [5 empty] | 752171 | 752171 | 1500786 | 1622199.6 | 2138039.6 | 2218339.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6 | 2298639.6
Bridge House Redevelopment | [5 empty] | 752171 | 753884.2784 | 1214292.6918 | 1339289.2973 | 1862859.0719 | 1948278.4677 | 2045163.3245 | 2049758.9453 | 2054354.566 | 2058950.1868 | 2060967.7764 | 2062985.366 | 2065002.9556 | 2067020.5452 | 2069038.1348 | 2071055.7244 | 2073073.314 | 2075090.9036 | 2077108.4932 | 2079126.0828 | 2081648.0698 | 2084170.0568 | 2086692.0438 | 2089214.0308 | 2091736.0178 | 2094258.0048 | 2096779.9918 | 2099301.9788 | 2101823.9658 | 2104345.9528
Carlisle House Redevelopment | [5 empty] | 752171 | 752171 | 1208786 | 1208786 | 1603212.4 | 1683512.4 | 1774762.4 | 1774762.4 | 1774762.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4 | 1790822.4
Bridgetown CBD Transformation | [5 empty] | 752171 | 753884.2784 | 1214292.6918 | 1339289.2973 | 1862859.0719 | 1948278.4677 | 2045163.3245 | 2049758.9453 | 2054354.566 | 2083534.0318 | 2093778.3564 | 2095828.066 | 2097877.7756 | 2099927.4852 | 2101977.1948 | 2104026.9044 | 2106076.614 | 2108126.3236 | 2110176.0332 | 2112225.7428 | 2114787.8798 | 2117350.0168 | 2119912.1538 | 2122474.2908 | 2125036.4278 | 2127598.5648 | 2130160.7018 | 2132722.8388 | 2135284.9758 | 2137847.1128

## CBA Input
ITEM | Option I | Option II | Option III | Option IV
Discription | BSTP to Waterford (Botanical Gardens) then northwards to recharge point at Trents (Greenwich) (find points or take-offs along the way). Assume 6 injection wells will be included in this option. | Extend Option I all the way to Spring Hall Land Lease, St. Lucy – all other points remain the same. Assume 9 injection wells will be included in this option. | BSTP to Waterford (Botanical Gardens) with take-off at Hothersal roundabout to Friendship Plantation the turn south along ABC H’way and then turn North along Belle Road up to Lears (Roberts Manufacturing) – irrigation can be done for lands on east and west of that road. Also takes in Neil's Plantation, Salters, Constant and Valley Plantation. Assume 6 injection wells will be included in this option. | BSTP to Spring Garden BWRO desalination plant. Assume 3 injection wells included in this option
Length of pipeline (kms) | 13 | 27 | 9 | 3
Sets of 3 Injection Wells | 2 | 3 | 2 | 1
Land areas | Hectares | Current # Farmers | Estimated # Farmers
Botanical Gardens (estimated area) | 71 | 1 | 1
Waterford (estimated area) | 57 |  | 47
Belle | 27 | 15 | 15
Haggatt Hall | 9 | 21 | 21
Neils Plantation (estimated area) | 38 |  | 32
Salters | 26 | 29 | 29
Constant (estimated area) | 96 |  | 1
Valley Plantation (estimated area) | 28 |  | 23
Spring Hall Land Lease - irrigated | 164 | 48 | 48
Estimate irrigated water use (MAFS) | 50 | m³/Hectare/day
Estimated size of irrigated plot (MAFS) | 1.2 | Hectares
Capital Costs
ITEM |  | Option I | Option II | Option III | Option IV
Pipelines US$/km | 500000 | 6500000 | 13500000 | 4500000 | 1500000
Reverse Osmosis Plant Item US$ | 2000000 | 2000000 | 2000000 | 2000000
Installation of Injection Wells US$ per set of 3 wells | 100000 | 300000 | 400000 | 300000 | 100000
Pump Station US$ each | 100000 | 250000 | 350000 | 250000 | 100000
Reservoir @US$400/m³ |  | 240000 | 240000 | 240000 | 240000
Total |  | 9050000 | 16250000 | 7050000 | 1700000
Capital Expenditure Schedule
| Year 1 | Year 2 | Year 3 | Year 11 | Year 21
Option I
Pipelines | 3250000 | 3250000 |  |  | 1000000
RO Plant | 1200000 | 800000 |  | 1000000 | 1000000
Pump Station & Booster Pump Station | 200000 | 50000 |  | 75000 | 75000 | 100 | 165
Balancing reservoir |  | 240000 |  |  |  | 150 | 200
Injection Wells | 300000 | 100000 |  |  |  | 200 | 220
Total | 4950000 | 4440000 |  | 1075000 | 2075000 | 300
Option II | [5 empty] | 400
Pipelines | 4725000 | 4725000 | 4050000 |  | 1000000 | 450
RO Plant | 1200000 | 800000 |  | 1000000 | 1000000 | 500
Pump Station & Booster Pump Station | 300000 | 50000 |  | 100000 | 100000
Balancing reservoir |  | 240000
Injection Wells | 400000 | 100000
Total | 6625000 | 5915000 | 4050000 | 1100000 | 2100000
Option III
Pipelines | 2250000 | 2250000 |  |  | 1000000
RO Plant | 1200000 | 800000 |  | 1000000 | 1000000
Pump Station & Booster Pump Station | 200000 | 50000 |  | 75000 | 75000
Balancing reservoir |  | 240000
Injection Wells | 300000 | 100000
Total | 3950000 | 3440000 |  | 1075000 | 2075000
Option IV
Pipelines | 1500000 |  |  |  | 400000
RO Plant
Injection Wells | 100000
Pump Station | 100000 |  |  | 50000 | 50000
Balancing reservoir | 240000
Total | 1700000 |  |  | 50000 | 450000
Operational Costs
Pipelines - annual maintenance costs | 1% | capital cost
Pump stations - annual maintenance costs | 15% | capital cost
Balancing reservoirs - maintenance costs | 1% | capital cost
Injections wells - maintenance costs | 10000 | per well
Reverse Osmosis -Operation & Maintenance costs | 0.033 | US$/m³
Pump stations - power costs per station
Option I | 0.035 | US$/m³
Option II | 0.055 | US$/m³
Option III | 0.03 | US$/m³
Option IV | 0.01 | US$/m³
Beneficiaries
|  | Option I | Option II | Option III | Option IV
MAFS has the estimated average revenue per acre under irrigation of between Bds$62,900 and Bds$80,000 per year.
Revenue per acre is under full irrigation. Revenue (Bds80,000/acre) per m³ can be calculated as | 4.3836 | 2.1918 | US$/m3
Under irrigation each acre creates 1 extra job
Average annual wages per labourer Bds$8.75/hr or annual total of 2,080 hours | 18200
For irrigated areas MAFS suggests 3 acres per farmer or 1.2 Hectares
Area available Hectares |  | 71 | 235 | 186 | 0
Potential # beneficiary farmers |  | 1 | 48 | 155 | 0
Revenue @ Bds/m³ |  | - | 5376000 | 5376000 | -
Potential # wage labourers |  | Does not create extra jobs | 410 | 465 | Creates no extra jobs
Available treated reclaimed water m³/day | 5600 | 1635200 | 1635200 | 1635200 | 2044000
Irrigation water. Based on 9 months of supplementary irrigation | m³/year | 971812.5 | 1226400 | 1226400 | 0
Managed Aquifer Recharge | m³/year | 663387.5 | 408800 | 408800 | 2044000
Recycled irrigation water to aquifer recharge. | m³/year | 490560 | 490560 | 490560
|  | This option provides some recharge to the Belle and or Spring Garden through irrigation of the Botanical Gardens | This option provides some recharge to the Belle and or Spring Garden through irrigation of the Botanical Gardens | This option provides recharge that could augment eith the Belle or Spring Garden

## Power Costs
Calculation of Power Costs by Water Reuse Options
ITEM | Unit | Option I |  |  | Option II |  |  | Option III |  |  | Option IV
Volume | m3/day | 5600 | 0.11828 | m/s | 5600 | 0.072234 | m/s | 5600 | 0.11828 | m/s | 5600 | 0.23702 | m/s
Volume | l/sec | 64.8148 | 0.14363 | 0.28725 | 64.8148 | 0.14363 | 0.28725 | 64.8148 | 0.14363 | 0.28725 | 64.8148 | 0.14363 | 0.28725
Velocity | m/s | 1 | 10858.752 |  | 1 | 10858.752 |  | 1 | 10858.752 |  | 1 | 10858.752
Roughness | m3/day | 140 | 5600 |  | 140 | 5600 |  | 140 | 5600 |  | 140 | 5600
Diameter | m | 0.4 |  |  | 0.4 |  |  | 0.4 |  |  | 0.4
Hydraulic gradiant | Head/Length | 0.002 |  |  | 0.0015 |  |  | 0.002 |  |  | 0.003
Length | m | 6500 |  |  | 10000 |  |  | 4500 |  |  | 3000
Headloss | m | 13 |  |  | 15 |  |  | 9 |  |  | 9
Diameter | m | 0.41761 |  |  | 0.5344 |  |  | 0.41761 |  |  | 0.29501
Static lift | m | 30 |  |  | 50 |  |  | 30 |  |  | 1
Friction loss | m | 13 |  |  | 15 |  |  | 9 |  |  | 9
Maximum water power | kW | 27.3308 |  |  | 41.314 |  |  | 24.7884 |  |  | 6.356
Installed motor power | kW | 56.1592 |  |  | 84.8918 |  |  | 50.9351 |  |  | 13.0603
Average power used | kW | 37.4395 |  |  | 56.5945 |  |  | 33.9567 |  |  | 8.7068
Annual power | kWh | 327969.6 |  |  | 495768 |  |  | 297460.8 |  |  | 76272
Monthly | kWh/month | 27330.8 |  |  | 41314 |  |  | 24788.4 |  |  | 6356
| kWh/m3 | 0.16045 |  |  | 0.24255 |  |  | 0.14553 |  |  | 0.037315
Customer Charge | Bds$ | 300 | 300 |  | 300 | 300 |  | 300 | 300 |  | 300 | 300
Demand Charge | Bds$/KVA | 22 | 2059.1699 |  | 22 | 3112.6986 |  | 22 | 1867.6192 |  | 22 | 478.8767
Base Energy Charge | Bds$/monthly kWh | 0.117 | 3197.7036 |  | 0.117 | 4833.738 |  | 0.117 | 2900.2428 |  | 0.117 | 743.652
FCA | Bds$/monthly kWh | 0.24 | 6559.392 |  | 0.24 | 9915.36 |  | 0.24 | 5949.216 |  | 0.24 | 1525.44
| Bds$/month |  | 12116.2655 |  |  | 18161.7966 | Bds$/month |  | 11017.078 | Bds$/month |  | 3047.9687 | Bds$/month
| Bds$/m3 |  | 0.070938 |  |  | 0.10633 | Bds$/m3 |  | 0.064503 | Bds$/m3 |  | 0.017845 | Bds$/m3